Department of Pathology

Weston General Hospital, Grange Road, Uphill, Weston Super Mare

North Somerset. BS23 4TQ

Phone: 01934 636363: ext. 3308 Direct Dial 01934 647055

Blood Sciences

User Guide

Essential guidelines for staff that use

University Hospitals Bristol and Weston Trust

Blood Science Services at Weston

INDEX

1.1	Scope of document	4

2.0	GENERAL INFORMATION	4

2.1	Laboratory Availability	4

2.2	Blood Sciences Contacts List	4

3.0	SAMPLE COLLECTION	5

3.1	Before the sample is taken (Chemical Pathology and Haematology)	5

3.1.1  Sample requirements	6

3.1.2	ICE requesting	6

3.1.3	Request Forms – Blood Sciences	7

3.1.4	Request Forms – Transfusion	7

3.2	Special requirements including timing of sample collection	7

3.3	Collecting the Sample	8

3.3.1	Sample Labelling	8

3.4	TRANSPORT TO THE LABORATORY AND SAMPLE STABILITY	8

4.0	CHEMICAL PATHOLOGY	9

4.1	chemical pathology blood sample requirements table	9

4.2	chemical pathology investigations and turnaround times	11

4.3	Reference Ranges	20

4.4	Antibiotic Levels	20

4.4.1	Monitoring Antibiotic Levels	20

4.5	Paediatric Bilirubin Levels	21

4.5.1	Paediatric Serum Bilirubin (SBR)	21

5.0	HAEMATOLOGY, COAGULATION & BLOOD TRANSFUSION   21

5.1  HAEMATOLOGY, COAGULATION AND TRANSFUSION BLOOD SAMPLE REQUIREMENTS           22

5.2	HAEMATOLOGY INFORMATION (SECTION LEAD: IVA DASHEVA) ………………………………….23

5.2.1	Haematology Investigations and Turnaround Times	23

5.2.2	Factors Affecting Haematology Tests	27

5.3 HAEMOSTASIS INFORMATION (SECTION LEAD: CHRIS DOHERTY)	27

5.3.1	Haemostasis Investigations and Turnaround Times	28

5.3.2	Specialist Haemostasis Investigations and Turnaround Times	31

5.3.3	Factors Affecting Coagulation Tests	37

5.3.4	Coagulation – Requesting Guidelines	37

5.5 Haematology and Coagulation Reference Ranges	37

5.6 BLOOD TRANSFUSION  (SECTION LEAD: STEPHEN WHITE)  …………………………………………38

5.6.1	Crossmatch/Group & Screen Policy	38

5.6.2	Maximum Surgical Blood Order Schedule	39

5.6.3	Major Haemorrhage Procedure	39

5.6.4	Blood Transfusion Test Information	40

5.6.5	Blood Transfusion Referrals	42

6.0	URGENT REQUESTS   43

6.1	Time Limits For Specimen Processing (Extra Test Requests)	43

7.0	SAMPLES SENT TO REFERRAL LABORATORIES FOR TESTING  45

7.1	Chemistry	45

7.2	Haematology	45

7.3	Coagulation	46

7.4	Blood Transfusion	46

8.0	OUT OF HOURS SERVICE	46

8.1	Chemical Pathology tests routinely available out of hours	47

8.2	Haematology tests routinely available out of hours	47

8.3	Transport of Samples Out of Hours	48

9.0	RESULTS	48

9.1	UHBW – Weston	48

9.2	GP	48

9.3	Urgent Requests	48

9.4	Clinical Enquires	49

9.5	Patient Results Enquiry Service	49

10.0 GOVERNANCE	49

11.0 APPENDICES	49

11.1	Appendix 1 - Chemistry Reference Ranges	49

11.2	Appendix 2 - Haematology Reference Ranges	56

11.3	Appendix 3 - Sample Tubes chart	58

11.4	Appendix 4 - Telephone Limits Chart (Blood Sciences)	62

Blood Sciences User Guide

## Scope of document

This document is a User Manual which describes the services provided by the Pathology Blood Sciences laboratories at Weston General Hospital for all users and the information contained herein is correct at time of printing.

Previous versions of this manual must be destroyed on receipt of the latest version.

# General information

## Laboratory Availability

Routine Hours in Blood Sciences are:

09.00 - 17.30 Monday - Friday (exc. Public Holidays)

Outside of these hours a multi-disciplinary Out of Hours (OOH) service is provided, which is staffed by a single biomedical scientist. This service is for essential urgent requests only. The OOH BMS can be paged on bleep 017.

## Blood Sciences Contacts List

| Blood Sciences |  |  |  |  |
| --- | --- | --- | --- | --- |
| Head of Service: Adrian Brown | 2575 | 01173422575 | adrian.brown@uhbw.nhs.uk | Mon - Fri |
| Deputy Head of Service: Patrick Simms | 3309 2575 | 01934 647009 01173422575 | Patrick.Simms@UHBW.nhs.uk | Mon - Fri |
| Quality Manager | 5306 | 01934 647053 | natalia.casey@uhbw.nhs.uk | Mon - Fri |
| Specimen reception | 5308 | Switchboard |  | Mon - Fri |
| Chemical Pathology Lab | 3308 | 01934 647055 |  | Mon - Fri |
| Chemical Pathologist: | 3310 | 01934 647019 |  | Mon - Fri |
| Dr Wycliffe Mbagaya | 3310 | 01934 647019 | wycliffe.mbagaya@uhbw.nhs.uk | Mon / Wed / Thurs |
| Dr Andrew Day | 3310 | 01934 647019 | andrew.day@uhbw.nhs.uk | Tue |
| Haematology Laboratory | 3307 | 01934 647054 |  | Mon - Fri |
| Blood Transfusion Lab | 3302 | 01934 647052 |  | Mon - Fri |
| Dr Lisa Wolger | 3324 | Contact via: NHS e-referral – Advice and Guidance Service |  | Mon - Fri |
| Dr Nikesh Chavda | 3323 |  |  |  |
| Transfusion Practitioner: Ms Egle Gallo | 3301 Bleep 004 | 01934 647050 | egle.gallo@uhbw.nhs.uk | Mon - Fri |
| Haematology Secretaries | 3300 | 01934 881006 |  | Mon - Fri |

# SAMPLE COLLECTION

## Before the sample is taken (Chemical Pathology and Haematology)

It is imperative that any sample taken from a patient can be positively identified. Please ensure the following sample requirements are included:

- Surname

- Forename

- Hospital registration number or date of birth

- Patient location, 1st line of address, postcode

- Date sample taken

These details are present on the labels generated on ICE requests. However, any non-electronic requests must ensure the sample has been labelled correctly with the above criteria. For additional labelling requirements in each area of the laboratory please refer to appropriate discipline User Guide.

### Sample Requirements

Blood samples should always be obtained using correct technique. This will normally be using the Vacutainer system. If a vacutainer system cannot be used, please ensure that the lid is placed securely back onto the container to prevent leakage during transit.

Please Note: If samples are taken by syringe and needle, they must not be ejected into blood tubes through a hypodermic needle as this may result in haemolysis.

Adequate filling of blood tubes is essential for safe and efficient operation of laboratory services. (i.e. complete vacuum draw or up to line on tube). Partially filled tubes may result in an inappropriate mix of blood and preservative/anticoagulant or ‘short sampling’ at the analysis stage, which may cause incorrect results. Under filled tubes will be rejected for certain tests such as Clotting Screens, D-Dimer, INR and ESR which require filling to the line.

Special handling of small samples also results in unnecessary exposure of staff to risk of blood-borne infection.

### 3.1.2 ICE Requesting

Most tests that we process are now available on the ICE requesting system. The use of the Electronic Requesting system allows for a more complete audit trail from sample collection to report issue. This process includes the information required for a manual (paper) request detailed in 3.1.4, along with other timestamps and allows for better investigation if any issues occur during sample transportation to the laboratory. Also, this allows us to add requesting information to a test when it is chosen, to ensure that it is relevant for the patient. These include, alert messages, questions to ensure the clinical details are considered and suggesting other tests which may be more relevant. This information is decided by the Laboratory Consulting staff.

Inpatient requests can be added to the morning phlebotomy round and should be added before 7am. OPAU, Harptree, Berrow and Steepholm can add patients to the afternoon rounds, and this must be done before midday.

GP requests can be made and postponed, this ensures the labels are produced at the time of the patient’s appointment.

### Request Forms – Blood Sciences

Ideally, most requests will now be made electronically through the ICE system. However, Blood Transfusion requests MUST be made manually (see section 3.1.5).

Where this is not the case or during downtime, we will accept paper request forms, however it is important that they are filled in correctly. For guidance on the completion of request forms, including the minimum criteria for positive patient identification, please refer to the Pathology User Guide.

### 3.1.4 Request Forms - Blood Transfusion

ALL requests for Blood Transfusion investigations (e.g. group and screen, crossmatch, batch product requests including Human Albumin Solution, Direct Coombs testing) MUST be made on purple Blood Transfusion paper request forms and include the following details:

- Forename and Surname

- Date of Birth

- Hospital or NHS number

- Signature of person who collected the sample

- Signature of Medical Officer (if blood product / component requested)

- Relevant clinical details

- Date and time of sample collection

Requests for free fetal DNA testing are the ONLY exception to the above. Such requests may be made on ICE with request form printed, or NHSBT ffDNA forms.

Requests for additional units / crossmatch (include HAS) may be telephoned to the transfusion laboratory on 3302 (during routine hours only).

## SPECIAL REQUIREMENTS (INCLUDING TIMING OF SAMPLE COLLECTION)

Some tests require the sample to be taken when fasting or at a specific point in the drug regime. For information on specific tests please contact the laboratory or consult the “Sample Tubes” documents available on in appendix 3.

Patient leaflets are available from Pathology on request for the following procedures:

- 24-hour Urine Collections

- Additional information for 24 Hour Urine collections for Catecholamines or 5HIAA

- Blood Transfusion related leaflets are available (produced by NHSBT)

## COLLECTING THE SAMPLE

### Sample Labelling

It is imperative that any sample taken from a patient can be positively identified. Therefore, minimum labelling requirements must be adhered to. These are documented for all Pathology specimens in the Pathology User Guide

In addition to the requirements detailed in the Pathology User Guide, for antibiotic and therapeutic drug assays the time of sample collection should be supplied.

Please ensure that ICE labels are affixed to the specimen tube parallel to the manufacturer’s label to ensure there are no delays to the test results.

#### 3.3.2 Labelling of Blood Transfusion Specimens

All Samples tubes for blood transfusion must be labelled at the patient bedside in one continuous uninterrupted event. All samples must be handwritten and must contain the following information:

- Patient full name (first name and surname)

- Patient Date of Birth

- Patient hospital number or NHS number

- Signature of the person taking the sample

- Time and date of sample

This information must match exactly what is on the form and computer systems.

DO NOT USE ADDRESSOGRAPH or ICE LABLES ON BLOOD TUBES (i.e. case note labels). This practice is unsafe as it can lead to patient misidentification. Addressographs do not give enough information for blood transfusion and cause a significant number of errors. The samples should be written up when next to the patient.

Blood Transfusion laboratory operates a zero-tolerance policy on labelling of samples. ANY errors will result in rejection of the request.

## TRANSPORT TO THE LABORATORY AND SAMPLE STABILITY

It is imperative that specimens arrive in the Laboratory in a timely manner. Due to varying stabilities of the analytes measured in Blood Sciences, please be aware that some tests may not be processed if specimens are not receipted on the day of collection.

Samples will be protected from deterioration by the regular collection service provided by porters during the day and with the provision of an Air Tube System. The Air Tube System covers all the main areas of Weston General Hospital site and all samples transported via this route must be placed in safety specimen bags.

Additionally, advice and facilities are available for the transport of samples on ice or those that need urgent separation. For samples that require rapid or special transport to the laboratory this can be arranged via the porters. For further information on methods of sample transportation to the Laboratory, please refer to the Weston Pathology User Guide.

# CHEMICAL PATHOLOGY

The Chemical Pathology department provides a comprehensive, clinically led service, with a complete repertoire of tests to support clinical care and due emphasis upon timeliness, efficiency and effectiveness.

Most tests are carried out on site and other tests are referred to specialist centres.

Urgent and critically abnormal test results are telephoned. All users will be able to access results using the Sunquest ICE system once the tests have been completed.

Users are welcome to telephone the laboratory to enquire about result availability if not yet available on ICE.

With due emphasis on ‘added value’, results interpretation and advice about further testing and investigation is always available, either from a Consultant Chemical Pathologist or a senior Biomedical Scientist.  A Consultant Chemical Pathologist is always available (in the Department, by mobile phone or via the UHBW Duty Biochemist rota outside normal working hours) to discuss investigation, interpretation and relevant aspects of patient management.

Consultant Chemical Pathologists are also happy to review patients on the wards by request.  A Consultant Chemical Pathologist also runs a Lipid Clinic and undertakes a weekly Clinical Nutrition Team ward round.

4.1 Chemical Pathology Blood Sample Requirements Table

For blood samples, there are several different bottles available, and different tests may stipulate different bottles. Most biochemistry analytes are measured on either a serum sample (SST, yellow or brick red top) or a lithium heparin plasma sample (PST, light green top). Please see the table below for examples.

| Chemical Pathology |  |  |
| --- | --- | --- |
| Becton Dickinson VacutainerTM | Ordering Information | Tests/Screens |
|  | Yellow top tube | Most common tests, including Antibiotics |
|  | Lithium Heparin (PST) 1.3ml paediatric (PST) Lithium Heparin (No Gel) | Most common tests |
|  | FLUORIDE OXALATE (Grey Top Tube) | Glucose, Alcohol, Lactate |
|  | Dark Blue Top Tube | Requires 6ml Trace elements e.g. Se, Zn, Cu |

## 4.2 Chemical Pathology Investigations and Turnaround Times

| Test Name | Sample type | Container | Test information | TAT |
| --- | --- | --- | --- | --- |
| Adrenocorticotropic hormone (ACTH) | Blood | EDTA tube | Poor in vitro stability - sample must be sent on ice to lab immediately. Sent to the BRI | 72 hours |
| Alanine transaminase (ALT) * | Blood | Serum (SST) or LiHep (PST) | Part of Liver Function Test ALT is primarily a marker of hepatocellular damage, although it can be raised due to release from other tissues such as in rhabdomyolysis. | 6 hours |
| Albumin | Blood | Serum (SST) or LiHep (PST) | Albumin is produced by the liver and is important in maintaining vascular fluid balance. | 6 hours |
|  | Fluid | Universal pot | Not validated in this sample type | 6 hours |
|  | Urine | Universal pot | Albumin:Creatinine ratio (ACR) is calculated. Also known as ‘microalbumin’ or ‘microalbuminuria’ | 6 hours |
| Alkaline phosphatase (ALP) * | Blood | Serum (SST) or LiHep (PST) | Part of Liver Function Test ALP can be elevated due to bone pathology and hepatobiliary disease. ALP is also produced by the placenta and results will be higher in pregnancy. | 6 hours |
| Alkaline phosphatase isoenzymes | Blood | Serum (SST) or LiHep (PST) | Only indicated if total ALP activity is elevated. Can confirm the diagnosis of benign transient hyperphosphatasaemia (BTH). | 2 weeks |
| Alpha-1-Antitrypsin (A1AT) | Blood | Serum (SST) or LiHep (PST) | A1AT phenotype is automatically added if: Age <16 years, or Total A1AT <1.0 g/L | 24 hours |
| Alpha-1-antitrypsin phenotype | Blood | Serum (SST) or LiHep (PST) | For diagnosis of A1AT deficiency | 2 weeks |
| Alpha-fetoprotein (AFP) ** | Blood | Serum (SST) or LiHep (PST) | AFP tumour marker ONLY. For antenatal Downs syndrome screening use special paper request form. | 24 hours (Mon-Fri) |
|  | CSF | Universal pot | Not validated in this sample type | 24 hours (Mon-Fri) |
| Ammonia | Blood | EDTA tube | Ammoniagenesis occurs in vitro, leading to falsely high results. sample must be sent on ice to lab immediately. Sent to the BRI | 24 hours |
| Amphetamines (urine) | Urine | Universal pot | Usually remains detectable in urine for 24-72 hours. Care should be taken to avoid tampering with the sample and that the sample is fresh and from the correct individual. Sent to the BRI | 48 hours (Mon-Fri) |
| Angiotensin Converting Enzyme (ACE) | Blood | Serum (SST) or LiHep (PST) | Patients on ACE inhibitors will give falsely low results. Sent to the BRI | 24 hours |
|  | CSF | Universal pot | Not validated in this sample type |  |
| Aspartate transaminase (AST) | Blood | Serum (SST) or LiHep (PST) | AST is used as a marker of hepatocellular damage, but due to poor specificity for liver tissue has largely been superseded using ALT. | 24 hours |
| Benzodiazepine (urine) | Urine | Universal pot | Request if only benzodiazepines required, otherwise request urine drug screen (Opiates, methadone and benzodiazepines). Care should be taken to avoid tampering with the sample and that the sample is fresh and from the correct individual | 24 hours (Mon-Fri) |
| Bicarbonate | Blood | Serum (SST) or LiHep (PST) | Cannot be added on to an existing request; bicarbonate rapidly equilibrates with CO2 in the atmosphere. | 6 hours |
| Bile Acids (Total Bile Acids) | Blood | Serum (SST) or LiHep (PST) | Bile acids are used as a marker of obstetric cholestasis and are not a routine markers of liver function. | 24 hours |
| Bilirubin (total) | Blood | Serum (SST) or LiHep (PST) | Bilirubin is the breakdown product of haem and is cleared by the liver in a two-step process; conjugation followed by excretion. Increased bilirubin can be due to liver damage, cholestasis, or increased haem breakdown e.g. haemolysis. Can be requested as part of an LFT or by itself | 6 hours |
| Bilirubin (conjugated / direct) | Blood | Serum (SST) or LiHep (PST) | Increased conjugated fraction is often a sign of cholestasis. Most useful for investigation of Gilbert's Syndrome. | 24 hours |
| Bilirubin (Fluid) | Fluid | Universal pot | Not validated in this sample type | 6 hours |
| CA 125 ** | Blood | Serum (SST) or LiHep (PST) | Primarily a marker of ovarian cancer. See NICE guideline CG 122 for further information. Use with caution for diagnosis as also increased significantly in many benign conditions. | 24 hours (Mon-Fri) |
| CA 15-3 | Blood | Serum (SST) or LiHep (PST) | CA15-3 is used to monitor treatment for breast cancer. Not indicated for diagnosis. | 24 hours (Mon-Fri) |
| CA 19-9 | Blood | Serum (SST) or LiHep (PST) | CA19-9 is frequently raised in pancreatic cancer. However, it can also be raised due to other abdominal pathologies, such as cholestasis and jaundice, and consequently is not advised for diagnosis without supporting imaging. | 24 hours (Mon-Fri) |
| Calcium | Blood | Serum (SST) or LiHep (PST) | The albumin adjusted calcium will also be automatically calculated from calcium and albumin. Can be falsely reduced due to contamination from EDTA - observe correct order of draw. | 6 hours |
|  | Urine | Universal pot | Reported as calcium: creatinine ratio on a spot sample. Random urine samples are acceptable from children, but in adults a 24h collection is preferred. | 6 hours |
|  |  | 24h bottle (acid) |  | 6 hours |
| Carcinoembryonic antigen (CEA) ** | Blood | Serum (SST) or LiHep (PST) | Used to monitor treatment and recurrence of colorectal cancer. Not suitable for use in diagnosis as it may not be raised in cancer and can be raised due to a variety of other pathologies. | 24 hours |
|  | Fluid | Universal pot | Not validated in this sample type |  |
| Chloride | Blood | Serum (SST) or LiHep (PST) | Not part of routine electrolytes | 6 hours |
|  | Urine | Universal pot | Not part of routine urine electrolytes. | 6 hours |
| Cholesterol | Blood | Serum (SST) or LiHep (PST) |  | 6 hours |
| Cocaine (urine) | Urine | Universal pot | Not part of routine drugs of abuse screen. Usually remains detectable in urine for 24-72 hours. Care should be taken to avoid tampering with the sample and that the sample is fresh and from the correct individual | 24 hours (Mon-Fri) |
| Complement (C3 & C4) | Blood | Serum (SST) or LiHep (PST) |  | 24 hours |
| Cortisol *** | Blood | Serum (SST) or LiHep (PST) | Cortisol shows a strong diurnal rhythm, and a randomly timed cortisol is limited diagnostic utility. Dynamic function tests are the best way to formally exclude or diagnose adrenal disease, although early morning (9am) or midnight cortisol can be useful. Please ring x27834 to discuss investigation. | 6 hours |
|  | Urine | 24h bottle (plain) | Also known as urine free cortisol (UFC). Useful in diagnosis of hypercortisolism | 2 weeks |
|  | Saliva | Salivette | Salivettes available from the laboratory. Recommended to send paired early morning and late evening samples. Both cortisol and cortisone are measured. Useful in diagnosis of hypercortisolism. | 4 weeks |
| C-Peptide | Blood | EDTA tube | Serum (SST) or lithium heparin (PST) also acceptable, but have reduced in vitro stability | 24 hours (Mon-Fri) |
|  | Urine | Boric acid pot | Universal pot also acceptable, but reduced in vitro stability | 24 hours (Mon-Fri) |
| C-reactive protein (CRP) | Blood | Serum (SST) or LiHep (PST) | Used as a non-specific marker of inflammation. | 6 hours |
| Creatine kinase (CK) | Blood | Serum (SST) or LiHep (PST) | Creatine kinase is released in large amounts from muscle when tissue damage occurs, although a raised CK can be a sign of tissue damage anywhere in the body. | 6 hours |
| Creatinine | Blood | Serum (SST) or LiHep (PST) | Creatinine is produced at a relatively constant rate by the body and cleared by the kidneys. It is therefore a useful marker for glomerular filtration rate and used to calculate eGFR. At the UHBW, an enzymatic assay is used to give greater accuracy of creatinine results. | 6 hours |
| Digoxin | Blood | Serum (SST) or LiHep (PST) | Samples should be taken 6-8 hours post dose | 24 hours |
| Drugs of Abuse Screen | Urine | Universal pot | Consists of Opiates, Methadone and Benzodiazepines. Care should be taken to avoid tampering with the sample and that the sample is fresh and from the correct individual Sent to the BRI | 48 hours |
| Electrolytes (E) | Blood | Serum (SST) or LiHep (PST) | Consists of Potassium, Sodium, Creatinine and eGFR. In vitro haemolysis raises serum potassium, and difficult venesection can cause a high potassium. EDTA contamination will also cause falsely raised results; please observe correct order of draw. | 6 hours |
| Electrolytes (no Potassium) (GPE) | Blood | Serum (SST) or LiHep (PST) | Consists of Sodium, Creatinine, Urea and eGFR | 6 hours |
| eGFR | Blood | Serum (SST) or LiHep (PST) | Calculated according to the CKD-EPI 4 variable equation | 6 hours |
| Estradiol (E2) | Blood | Serum (SST) or LiHep (PST) | Some, but not all, exogenous oestrogens can cross react in the assay. Results may be unreliable if patient is on HRT or an oral contraceptive, depending on the formulation. | 6 hours |
| Faecal Calprotectin | Faeces | Stool pot | Sent to the BRI | 2 weeks |
| Ferritin (Serum) | Blood | Serum (SST) or LiHep (PST) |  | 24 hours |
| Folate (Serum) | Blood | Serum (SST) or LiHep (PST) |  | 24 hours |
| FIB-4 | Blood | Serum (SST) and EDTA | Calculated score generated from age, AST, ALT and platelet count. | 24 hours |
| Follicle stimulating hormone (FSH) | Blood | Serum (SST) or LiHep (PST) |  | 24 hours |
| Gamma-glutamyl transferase (GGT) | Blood | Serum (SST) or LiHep (PST) | Gamma glutamyl transpeptidase is increased in cholestasis. It can also be induced secondary to many medications and ethanol use. | 6 hours |
| Gentamycin | Blood | Serum (SST) or LiHep (PST) | Please refer to Trust guidelines on DMS | 6 hours |
| Globulin | Blood | Serum (SST) or LiHep (PST) | Globulin = Total protein - Albumin. Raised results may indicate monoclonal or polyclonal raised immunoglobulins. Low results may indicate low immunoglobulins. | 6 hours |
| Glucose Tolerance Test | Blood | Fluoride oxalate tube | GTT = Baseline + second sample taken 120 mins later | 6 hours |
| Glucose (Serum) | Blood | Fluoride oxalate tube | Serum (SST) or lithium heparin (PST) also acceptable if sample received promptly in the lab. Glucose is rapidly metabolised in vitro unless fluoride oxalate tube used | 6 hours |
|  | CSF | Fluoride oxalate tube | A plain pot is also acceptable if sample received promptly in the lab. | 6 hours |
| Growth Hormone | Blood | Serum (SST) or LiHep (PST) | A random GH measurement is of low clinical utility. Best used as part of stimulation or suppression testing. See also IGF1 | 24 hours (Mon-Fri) |
| Haptoglobin | Blood | Serum (SST) or LiHep (PST) |  | 24 hours |
| HDL Cholesterol | Blood | Serum (SST) or LiHep (PST) |  | 6 hours |
| Homocysteine | Blood | EDTA |  | 14 days |
| Human Chorionic Gonadotrophin (hCG) | Blood | Serum (SST) or LiHep (PST) | HCG can be used as a tumour marker when germ cell tumours are suspected. HCG is secreted by the placenta in pregnancy, and therefore also provides the basis for urine pregnancy testing. For patients under the care of the Early Pregnancy Unit, HCG can be used to monitor progression of a pregnancy, but blood should not routinely be used for pregnancy testing. | 6 hours |
|  | CSF | Universal pot | Not validated in this sample type | 6 hours |
| Immunoglobulins: IgA, IgG, IgM, IgE | Blood | Serum (SST) or LiHep (PST) |  | 1 week |
| IGF-1 | Blood | Serum (SST) or LiHep (PST) | This is the screening test for disorders of growth hormone deficiency or excess | 48 hours (Mon-Fri) |
| Insulin | Blood | Serum (SST) or LiHep (PST) | For investigation of hypoglycaemia | 48 hours |
| Iron | Blood | Serum (SST) or LiHep (PST) | For investigation of suspected overdose | 24 hours |
| Transferrin Saturation | Blood | Serum (SST) or LiHep (PST) | This test should generally be requested only for the investigation of iron overload. Request ferritin frontline to investigate iron deficiency | 24 hours (Mon-Fri only) |
| Lactate | Blood | Fluoride oxalate tube | Lactate is rapidly produced by cells in vitro, and samples should always be in a fluoride tube (grey top). Should be measured on Blood Gas Machine in the first instance. If not, sent to the BRI for analysis | 48 hours |
|  | CSF | Fluoride oxalate tube |  | 24 hours |
| Lactate Dehydrogenase (LDH) * | Blood | Serum (SST) or LiHep (PST) | The test is highly sensitive to haemolysis | 24 hours |
|  | CSF | Universal pot |  | 24 hours |
| Lipase | Blood | Serum (SST) or LiHep (PST) | The first line screen for acute pancreatitis | 6 hours |
| Lipoprotein (a) | Blood | Serum (SST) or LiHep (PST) |  | 1 week |
| Lipoprotein Electrophoresis | Blood | Serum (SST) only | Samples should be collected ideally after a 12 hour fast | 2 weeks |
|  | Pleural fluid | Universal pot | For diagnosis of chylothorax. Triglycerides will be measured first: A value <0.5 mmol/L excludes chylothorax, and a value >1.2 mmol/L confirms chylothorax. | 2 weeks |
| Lithium | Blood | Serum (SST) only | Serum sample required. Lithium heparin plasma is NOT suitable. Samples for therapeutic monitoring should be taken 12 hours post dose. | 24 hours |
| Liver Function Test (LFT) | Blood | Serum (SST) only | Consists of: ALT, ALP, Albumin, Total Bilirubin, Total Protein | 6 hours |
| Luteinising hormone (LH) ** | Blood | Serum (SST) or LiHep (PST) |  | 24 hours (Mon-Fri) |
| Magnesium | Blood | Serum (SST) or LiHep (PST) | Can be falsely reduced due to even slight contamination from EDTA tubes - observe correct order of draw. | 6 hours |
|  | Urine | Universal pot |  | 6 hours |
| Methadone metabolite (urine) | Urine | Universal pot | Care should be taken to avoid tampering with the sample and that the sample is fresh and from the correct individual | 24 hours (Mon-Fri) |
| Methotrexate | Blood | Serum (SST) or LiHep (PST) | ONLY for monitoring of high dose treatment. Methotrexate levels do not need to be measured routinely in patients on long term therapy. | 24 hours |
| Neurone Specific Enolase (NSE) | Blood | Serum (SST) only | A marker of neuronal damage. Also can be raised in non-small cell lung cancer and neuroendocrine tumours. | 24 hours |
| NT-proBNP | Blood | Serum (SST) or LiHep (PST) |  | 48 hours |
| Opiates (urine) | Urine | Universal pot | Care should be taken to avoid tampering with the sample and that the sample is fresh and from the correct individual. Not specific for morphine – codeine will produce a positive result. If confirmation is required, please contact the lab. | 24 hours (Mon-Fri) |
| Osmolality | Blood | Serum (SST) or LiHep (PST) |  | 24 hours |
|  | Urine | Universal pot | Paired serum osmolality required for interpretation. If investigating hyponatraemia, it is recommended to additionally request urine sodium. | 24 hours |
| Paracetamol * | Blood | Serum (SST) or LiHep (PST) | The test is highly sensitive to haemolysis | 6 hours |
| Parathyroid hormone (PTH) ** | Blood | EDTA tube | A concurrent calcium result is required for interpretation. | 24 hours |
| Phosphate | Blood | Serum (SST) or LiHep (PST) |  | 6 hours |
| Potassium * | Blood | Serum (SST) or LiHep (PST) | Potassium leaks from cells over time, and so samples should be received in the laboratory or separated within twelve hours. Cold temperatures accelerate this effect. In vitro haemolysis raises serum potassium, and difficult venesection can cause a high potassium. EDTA contamination will also cause falsely raised results; please observe correct order of draw. | 6 hours |
| Progesterone | Blood | Serum (SST) or LiHep (PST) | For confirmation of ovulation in mid luteal phase (approx. day 21 of a 28 day cycle) | 24 hours (Mon-Fri) |
| ProCalcitonin |  |  |  | 6 hours |
| Prolactin ** | Blood | Serum (SST) or LiHep (PST) |  | 24 hours (Mon-Fri) |
| Prostate-specific antigen (PSA) | Blood | Serum (SST) or LiHep (PST) |  | 24 hours (Mon-Fri) |
| Protein Electrophoresis | Blood | Serum (SST) only | Screening for myeloma must include both serum and urine electrophoresis | 1 week |
|  | Urine | Universal pot | Also known as Bence Jones Protein (BJP). Minimum 5 mL early morning urine - no preservative required, boric acid tube unsuitable. See also serum free light chains. | 1 week |
| Rheumatoid factor (RF) | Blood | Serum (SST) or LiHep (PST) |  | 24 hours |
| Salicylate | Blood | Serum (SST) or LiHep (PST) | For investigation of aspirin overdose | 6 hours |
| Serum Free Light Chains | Blood | Serum (SST) or LiHep (PST) | For use in the diagnosis and monitoring of plasma cell dyscrasia | 1 week |
| Sex Hormone Binding Globulin (SHBG) | Blood | Serum (SST) or LiHep (PST) |  | 24 hours (Mon-Fri) |
| Sodium | Blood | Serum (SST) or LiHep (PST) | Requested as part of U&E | 6 hours |
| Tacrolimus | Blood | EDTA tube | A separate EDTA tube is required, sample should be taken as pre-dose | 24 hours (Mon-Fri) |
| Testosterone ** | Blood | Serum (SST) or LiHep (PST) | Note that some exogenous steroids such as norethisterone can cause falsely raised results.Significantly elevated results in females can be confirmed using a more specific method if required. | 24 hours (Mon-Fri only) |
| Free androgen index | Blood | Serum (SST) or LiHep (PST) | For investigation of possible hyperandrogenism in adult females | 24 hours (Mon-Fri) |
| Calculated free testosterone | Blood | Serum (SST) or LiHep (PST) | For investigation of possible hypogonadism in adult males. Vermeulen equation used. | 24 hours (Mon-Fri) |
| Theophylline | Blood | Serum (SST) or LiHep (PST) | Pre dose sample | 24 hours |
| Thyroglobulin (including thyroglobulin antibodies) | Blood | Serum (SST) or LiHep (PST) | For monitoring of thyroid cancer patients after total thyroidectomy and I-131 ablation. | 48 hours |
| Thyroid peroxidase antibodies (TPO) | Blood | Serum (SST) or LiHep (PST) | TPO positivity may indicate a slightly higher likelihood of progression from sub-clinical to overt hypothyroidism. | 24 hours (Mon-Fri) |
| Thyroid stimulating hormone (TSH) ** | Blood | Serum (SST) or LiHep (PST) |  | 6 hours |
| Free T3 ** | Blood | Serum (SST) or LiHep (PST) | Only requestable by laboratory. Please request TFT and provide full clinical details. Assay will be performed if indicated. | 6 hours |
| Free T4 ** | Blood | Serum (SST) or LiHep (PST) | Included as part of TFT in children, in known/suspected pituitary disease, and if TSH is abnormal. Please provide clinical details. | 6 hours |
| Tissue transglutaminase IgA (coeliac screen) | Blood | Serum (SST) or LiHep (PST) | Anti-tissue transglutaminase (TTG) is the most useful biochemical test for the diagnosis of coeliac. Total IgA will also be measured. In conjunction with European guidelines (NICE/BSG/ESPGHAN) HLA DQ2/DQ8 is available as a separate request in children with strong positive coeliac serology to avoid the need for biopsy. Patients must be a on a normal (gluten-containing) diet for at least one month before testing. | 1 week |
| Total protein | Blood | Serum (SST) or LiHep (PST) |  | 6 hours |
|  | CSF | Universal pot |  | 6 hours |
|  | Urine | 24h bottle (plain) | A plain bottle is required (acid collection is UNSUITABLE) | 6 hours |
|  | Urine | Universal pot | For calculation of protein:creatinine ratio (PCR). Note that ACR is recommended in preference to PCR for proteinuria screening in patients with risk factors for the development of CKD | 6 hours |
| Triglyceride | Blood | Serum (SST) or LiHep (PST) |  | 6 hours |
|  | Fluid | Universal pot | Not validated in this sample type | 6 hours |
| Troponin I * | Blood | Serum (SST) or LiHep (PST) | Please refer to the Trust ACS protocol. Highly Sensitive to Haemolysis | 6 hours |
| Urea, Electrolytes and Creatinine (UE) | Blood | Serum (SST) or LiHep (PST) | In vitro haemolysis raises serum potassium, and difficult venesection can cause a high potassium. EDTA contamination will also cause falsely raised results; please observe correct order of draw. | 6 hours |
| Urea | Blood | Serum (SST) or LiHep (PST) | Part of U&E | 6 hours |
| Uric Acid / Urate | Blood | Serum (SST) or LiHep (PST) |  | 6 hours |
|  | Urine | Universal pot |  | 6 hours |
|  |  | 24h collection (plain) |  | 6 hours |
| Urine Drug Screen | Urine | Universal pot |  | 48 hours |
| Urine Electrolytes | Urine | Universal pot |  | 24 hours |
| Urine Amino Acids | Urine | Universal pot |  | 14 days |
| Urine Organic Acids | Urine | Universal pot |  | 14 days |
| Vancomycin | Blood | Serum (SST) or LiHep (PST) | Please refer to Trust guideline | 24 hours |
| Vitamin B12 | Blood | Serum (SST) or LiHep (PST) |  | 24 hours |
| Vitamin A, E, B1 & B6 | Blood | Serum (SST) or lithium heparin (PST) | MUST be protected from light | 2 weeks |
| Vitamin D (25-OH-vitD) | Blood | Serum (SST) or LiHep (PST) | https://remedy.bnssg.icb.nhs.uk/media/rorpnazk/bnssg-vitamin-d-guidelines-2024.pdf | 24 hours (Mon-Fri) |
| Xanthochromia (CSF pigments) | CSF | Universal pot (forth or last pot collected) | Samples should be taken >12 hours but <14 days post initial symptoms. Samples should arrive in the lab within an hour of collection and not sent by pneumatic tube system. CSF must be collected according to protocol and protected from light. Sent to the BRI Please contact the on-call Biochemist if results are required more urgently. Refer to https://uhbw.mystaffapp.org/document/show_document/11496 for more information. | 24 hours |

PLEASE NOTE

* These assays are highly sensitive to haemolysis

**These assays require clinical validation and will not appear on ICE until they have been reviewed by a Duty Biochemist

*** Result will appear on ICE, Duty Biochemist may add an additional comment based on result.

- Quoted turnaround time is defined as the time from sample receipt to result availability in ICE.

- All samples from ED, ITU, SDEC, Oncology and Seashore are treated as URGENT.

- Routine biochemistry requests from an urgent location, or marked as urgent, will aim to be turned around within 90 minutes of sample receipt. From other locations please mark the as urgent on ICE and ring the laboratory if necessary.

- Low- and high-level results will take longer as they are automatically rerun for confirmation.

- The frequency of batching and the assay days can vary. Please contact the lab for more information on turnaround times of these assays.

- Samples are kept for approximately 7 days. Within this period additional tests may be added to those already requested (See Extra Test requesting chart for stability of samples for a particular test). Hospital staff should send an Extra Test Request form, whereas GPs may request additional tests by telephoning the laboratory.

## 4.3 REFERENCE RANGES

Please refer to Appendix One.

## ANTIBIOTIC LEVELS

### Monitoring Antibiotic Levels

For guidance on Monitoring Antibiotic levels please contact the Microbiology department.

All samples submitted for assay must have the following information.

- Date and time that the level was taken

- Drug was last administered.

- Indication (i.e. diagnosis) for the antibiotic

- Dose and frequency of the prescribed antibiotic

Failure to provide this information will make it impossible to interpret the result.

## PAEDIATRIC BILIRUBIN LEVELS

### Paediatric Serum Bilirubin (SBR)

Paediatric bilirubin samples must be collected in a green-top paediatric lithium heparin bottle. All requests for paediatric bilirubin are treated as urgent. All community requests must have an accompanying telephone number for receipt of result. Paper requests are acceptable but requesting on ICE is preferred. It is important that the requestor informs the laboratory about the pending incoming of a sample prior to processing. Contact information is as above in section 2.2.

# HAEMATOLOGY, COAGULATION & BLOOD TRANSFUSION

The Haematology laboratory provides a comprehensive, high quality, general Haematology service, which involves processing and analysing most tests requested on site. A Blood Group Serology & Blood Compatibility service is provided by the Transfusion laboratory.

The Haematology & Blood Transfusion service is provided by a small team of BMSs and MLAs, under the direction of Consultant Haematologists working across the Weston Bristol sites of the University Hospitals Bristol and Weston (UHBW) Trust.

Results are reviewed by senior laboratory staff, and where appropriate, abnormal results are referred to laboratory Consultants.

The Haematology Consultants are available daily to discuss problems and review patients in addition to supporting a Clinical Haematology Out-Patient service. They are contactable by telephone at any time during the routine working week for advice. Consultant On Call Haematology advice is provided out of hours from UHBW.

5.1 HAEMATOLOGY, COAGULATION AND TRANSFUSION SAMPLE TUBE REQUIREMENTS

| Haematology, Coagulation and Transfusion |  |  |
| --- | --- | --- |
| Becton Dickinson VacutainerTM | Ordering Information | Tests/Screens |
|  | EDTA 4ml adult 1.3ml paed | FBC, ESR, Reticulocyte count, Blood film, Malaria screen, G6PD assay, PK assay, Plasma viscosity, Haemoglobinopathy screen, Haemoglobin A1c, rapid sickle screen, Heinz bodies, Haemoglobin H preparation, Kleihauer, DAT, Prothrombin gene mutation & Factor V Leiden. |
| Note underfilled samples are unsuitable for testing | SODIUM CITRATE 2.7ml adult 1.3ml paed | Clotting screen (PT/APTT), Fibrinogen, D-Dimers, Low molecular weight heparins (LMW/Xa). These tubes MUST be filled to the correct 2.7ml (adult), 1.3ml (paed), 650µl* (neonate) mark on the side of the tube: underfilled or overfilled samples are unsuitable for testing. Citrated Platelet Count – notify Haematology laboratory staff that the sample is en-route: it must not be centrifuged. |
|  | EDTA BLOOD TRANSFUSION ONLY 6ml adult 1.3ml paed | Blood Transfusion Group & save (including antibody screen*, Crossmatch*, Kleihauer, DAT) *Sample identification for Group & save or crossmatch MUST be handwritten and have the correct 4 points of ID plus the signature of the person taking the sample. The time and date of collection must also be included. |

## Haematology (Section Lead: Iva Dasheva)

Please note that time limit for additional tests is dependent on sample availability as general retention time for haematology EDTA samples is 48-72hrs

Please contact the laboratory for any reference ranges if not listed below, all relevant ranges can be found on patient reports and/or ICE system.

### Haematology Investigations and Turnaround Times

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Blood Film | EDTA (can be performed on same sample as FBC) | Not applicable | Delay in receiving sample Sample not kept at room temperature | Send sample ASAP to the laboratory as prolonged storage affects cell morphology. Please give clinical details/reason for the request. | Service for clinically urgent requests | Within 24hrs | 24hrs |
| Citrated Platelet Count (performed for platelet clumping in EDTA) | Sodium Citrate | 150-400 x109/L | Clot in sample Platelet aggregation in citrate | Please indicate clearly on the request form that the sample is for a citrated platelet count. Notify Haematology ex3307 that sample is en route: sample must not be centrifuged. Sample(s) must be filled to correct filling line | Service for clinically urgent requests | Within 24hrs | 24hrs |
| ESR Erythrocyte Sedimentation Rate | EDTA (can be performed on same sample as FBC) | Male: 17 -50 (<10mm/hr) 51-60 (<12mm/hr) 61-70 (<14mm/hr) >70 (<30mm/hr) | Female: 17-50 (<12mm/hr) 51-60 (<19mm/hr) 61-70 (<20mm/hr) >70 (<35mm/hr) | Clot in sample Insufficient sample Delay in receiving sample | >1mL of EDTA blood is required to perform ESR | Service for clinically urgent requests | Within 24hrs |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Full Blood Count | EDTA | Adult WBC: 4-11 x109/L Neutrophils: 1.5-8 x109/L Haemoglobin: 120-150g/L (F) 130-170 g/L (M) MCV: 83-100 fL Platelets: 150-400 x109/L | Clotted sample. Insufficient sample. Lipaemic, icteric, haemolysed samples. Delayed sample receipt. | Adult samples >1mL of blood required. Paediatric/neonate >500µL of blood required. | Service for clinically urgent requests | Within 24hrs | 24hrs |
| G6PD (Glucose-6-Phosphate Dehydrogenase Assay) | EDTA (can be performed on same sample as FBC) | 4.6-13.5 U/gHb Values for new-borns maybe somewhat higher (up to 150%) | Copper & sulphate ions decrease G6PD activity. Certain drugs interfere with circulating levels. Clotted sample. | Sample referred to UHBW-Bristol Royal Infirmary Reticulocytes have increased G6PDH levels than mature red cells. NOT recommended that assays be performed after severe haemolytic crisis due to falsely elevated levels. | Not available | 6 days (if stored at 4oC) | 3 working days |
| Haemoglobin A1c (HbA1c) | EDTA (can be performed on same sample as FBC) | 20-42 mmol/mol (not consistent with diabetes mellitus) 42-48 mmol/mol (high diabetes risk) >48 mmol/mol (diagnostic of diabetes mellitus) | Unstable haemoglobins e.g. Hb Raleigh. Presence of interfering haemoglobin variants. Reduced red cell lifespan – e.g. HbSS, HbCC, HbSC. Clotted and insufficient samples. | Retrospective indicator of mean plasma glucose concentration during the last 6-8 weeks. Does not detect hypoglycaemic episodes and falsely low results may be found with haemolytic disease. | Not available | 5 days | 3 working days |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Haemoglobinopathy screen and DNA analysis | EDTA (can be performed on same sample as FBC) | Normal: HbA2 <4% HbF <1% Normal red cell indices MCH≥27pg Hb ≥80g/L | Severe iron deficiency can reduce HbA2 levels. Clotted sample. | Sample referred to UHBW-Bristol Royal Infirmary Laboratory will process all requests but note that with patients under 1 year of age – unable to exclude α/β-thalassaemia, repeat suggested after 1 year of age. Results may be misleading if patient transfused within the last 4 months. *DNA – sendaway performed at Oxford University Hospital1 | Not available | 7 days (if stored at 4oC) | 3 working days |
| Plasma Viscosity (PV) | EDTA (can be performed on same sample as FBC) | 1.5-1.72 mPa/s | None known | *Send away test – Performed at NBT Southmead2 | Not available | 5 days | 3 weeks for report (SEND-AWAY) |
| Pyruvate Kinase Assay | EDTA (can be performed on same sample as FBC) | 11-19 IU/g Hb | Age of sample Clotted sample | Sample referred to UHBW-Bristol Royal Infirmary Samples subsequently sent for testing at King’s College Hospital, London7.2 | Not available | 72hrs (if stored at RT) | 3 weeks for report (SEND-AWAY) |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Malaria Screen | EDTA (can be performed on same sample as FBC) | Not applicable | Age of sample | URGENT REQUESTS: Contact Haematology where rapid test can be used alongside priority thick & thin blood film analysis. Please fill all clinical information when prompted when submitting ICE request. All positives are sent to London School of Hygiene & Tropical medicine4 for confirmation. | Service for clinically urgent requests | Within 24hrs | 24hrs (note all POSITIVE’s confirmed at LSHTM) |
| Rapid Sickle Screen | EDTA (can be performed on same sample as FBC) | Not applicable | Erythrocytosis, hyperglobunaemia, leucocytosis, lipaemia – can give false positives. Children <6months can give false negatives. Recent blood transfusion can give false positive/negatives. | If Pre-op and URGENTLY required, contact the laboratory. Sickle screen performed alongside full haemoglobinopathy screen for all requests. | Service for clinically urgent requests | 7 days (if stored at 4oC) | 72hrs |
| Reticulocyte Count (Retic) | EDTA (can be performed on same sample as FBC) | >18 years 50-100 x109L | Clotted sample. Insufficient sample. Lipaemic, icteric, haemolysed samples. Delayed sample receipt. | Adult samples >1mL of blood required. Paediatric/neonate >500µL of blood required. Reticulocyte count performed alongside FBC. | Service for clinically urgent requests | Within 24hrs | 24hrs |

### Factors Affecting Haematology Tests

- Blood Film: Delay in receiving sample, Sample not kept at room temperature

- Citrated Platelet Count (performed for platelet clumping in EDTA): Clot in sample, underfilled sample, Platelet aggregation in citrate.

- ESR - Erythrocyte Sedimentation Rate: Clot in sample, Insufficient sample, Delay in receiving sample.

- Full Blood Count: Clotted sample. Insufficient sample. Lipaemic, icteric, haemolysed samples. Delayed sample receipt.

- G6PD (Glucose-6-Phosphate Dehydrogenase Assay): Copper & sulphate ions decrease G6PD activity. Certain drugs interfere with circulating levels. Clotted sample.

- Malaria Screen: Age of sample

- Reticulocyte Count (Retic): Clotted sample. Insufficient sample. Lipaemic, icteric, haemolysed samples. Delayed sample receipt.

- Zinc Protoporphyrin (ZPP): Haemolysed samples. Abnormally elevated bilirubin will create positive interference due to its spectral qualities.

## Haemostasis Information (Section Lead: Chris Doherty)

- Citrated samples must be adequately filled to the correct marked line (2.7mL adult/1.3mL paediatric/650µL neonate). Tests cannot be performed on underfilled, overfilled, or clotted samples.

- Grossly lipaemic samples may require manual testing and a delay in results.

- Telephone the laboratory on ext3307 during routine hours if required. Please note due to the nature of the sample volume, clotting tests may be limited or unavailable if plasma levels are too low.

- Include clinical details on the request form/ICE order e.g. ‘patient on …….. anticoagulation (warfarin/heparin etc.)’ or ‘post-op sample’; to facilitate appropriate testing and interpretation of results.

- Send request form (if used) and sample to the laboratory as quickly as possible. Any critically urgent requests telephone the laboratory on ext3307.

- Abnormal results that require further laboratory testing may result in delayed reporting.

- ADAMTS-13, HIT, Antithrombin 3 and one stage factor assay testing is available to be performed as an urgent out of hours testing (out of 09:00 – 17:00 Monday to Friday) providing it has been approved by the Clinical Haemostasis team requiring at minimum Haematology SpR agreement with Haemostasis on call Consultant, contact Haematology registrar via switchboard. In hours (09:00 – 17:00 Monday to Friday) these tests can be approved by the UHBW Haem Reg on 0117 923 0000, Bleep 2677 (Bristol Royal Infirmary).

- The laboratory provides the testing for the UHBW WGH Pharmacy dosed Warfarin patients. For enquiries about doses for these patients contact the Pharmacy helpline on 01934 647061 during routine hours (Mon-Fri 09:00-17:00).

### Haemostasis Investigations and Turnaround Times

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Antithrombin 3 (AT3) | Sodium citrate | 0.83-1.28 IU/ml | Delayed receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary *Available outside of thrombophilia screening on agreement with minimum Haematology SpR but may require Haemostasis Consultant on call approval – both contactable via switchboard | Service for clinically urgent requests* | Within 24hrs | 2 weeks (unless clinically agreed) |
| Anti-Xa assay For the monitoring of Low Molecular Weight Heparin (LMW) | Sodium citrate | Once daily regime: 0.80-1.60 IU/mL Twice daily regime:0.50-1.10 IU/mL | Delayed receipt of sample | Please state the anticoagulation of the patient. Common LMW’s – Clexane, Enoxaparin | Service for clinically urgent requests | Within 24hrs | 2hrs |
| Anti-Xa used in the monitoring of Unfractionated Heparin (UFH) | Sodium citrate | 0.35-0.70 IU/mL | Delayed receipt of sample | Please state the anticoagulation of the patient. | Service for clinically urgent requests | Within 24hrs | 2 hrs |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Clotting Screen (PT/APTT – Prothrombin Time, Activated Partial Thromboplastin Time) | Sodium citrate | PT: 10.0-13.2 secs APTT: 25.1-36.5 secs | Anticoagulation Delayed receipt of sample Grossly lipaemic, icteric or haemolysed samples | Heparin & Warfarin therapy affects results and determines appropriate testing please state that the patient is on Heparin and/or Warfarin on the request form. | Service for clinically urgent requests | PT within Within 24hrs | 6 hrs |
| D-Dimers (DDV) | Sodium citrate (can be added to Clotting screen sample) | Normal cut off <500ng/mL (FEU) | Grossly lipaemic, icteric or haemolysed samples |  | Service for clinically urgent requests | Within 24hrs | 6hrs |
| Fibrinogen - Clauss (FIB) | Sodium citrate (can be added to Clotting screen sample) | Normal: 2.0-4.0 g/L | Grossly lipaemic, icteric or haemolysed samples |  | Service for clinically urgent requests | Within 24hrs | 6hrs |
| Heparin (unfractionated) Monitoring (HEP, APTTR) | Sodium citrate | Therapeutic range: 1.5-3.5 (APTT ratio) | Grossly lipaemic, icteric or haemolysed samples Other anticoagulation |  | Service for clinically urgent requests | Within 24hrs | 1hr |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Thrombin Clotting Time (TCT) | Sodium citrate | Normal: 15.0-22.0 secs | Delayed receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary Test is used in combination with protamine to check for the presence of heparin within a sample. | Service for clinically urgent requests | Within 24hrs | 2 weeks |
| Warfarin Monitoring (INR) | Sodium citrate | Ranges – are determined on an individual basis as decided by clinical decision. Contact the Laboratory for further information. | Delayed receipt of sample | Please inform of anticoagulation on request form. | Service for clinically urgent requests | Within 24hrs | 6 hrs |

### Specialist Haemostasis Investigations and Turnaround Times

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ADAMTS-13 | Sodium citrate | Normal 60.6 - 130.6% | Delay in receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary Consultant approval required for urgent testing, otherwise routine weekly testing. | Service for clinically urgent requests | Within 24hrs | Urgent 24 hours; Routine 2 weeks |
| Apixaban / Edoxaban | Sodium citrate | Not established, contact Haemostasis consultant for advice | Delay in receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary | Not available | Within 24hrs | 72hrs |
| Bethesda Assay (F8C Inhibitor) (F9C Inhibitor) | Sodium citrate 2 x 2.7ml | Normal = Negative | Delay in receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary | Not available | Within 24hrs | 2 weeks |
| Dabigatran | Sodium citrate | Not established, contact Haemostasis consultant for advice | Delay in receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary | Not available | Within 24hrs | 72hrs |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Factor Assays F2, F5, F7, F8, F9, F10, F11, F12, F13 | Sodium citrate 2 x 2.7mL | All factors except F11 and 13 Normal: 0.5-2.0 IU/mL F11 Normal: 0.7-2.0 IU/mL F13 Normal: 0.7-1.4 IU/mL | Anticoagulation: Warfarin/Heparin Delay in receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary *Urgent tests require Haemostasis Consultant approval. For Pre/Post factor samples please keep in separate bags and mark on sample tubes which are the Pre/Post | Service for clinically urgent requests* | Contact the Laboratory | 2 weeks |
| Factor 8/9 specialist tests: F8 Bovine F8/9 Chromogenic | Sodium citrate 2 x 2.7mL | Normal: 0.5-2.0 IU/ml | Delay in receipt of sample. Anticoagulants especially Heparin. | Sample referred to UHBW-Bristol Royal Infirmary All require Consultant approval | Not available | Contact the Laboratory | 2 weeks |
| Lupus Anticoagulant/ Screen (Antiphospholipid antibodies) | Sodium citrate 2 x 2.7mL | Normal = Negative. | Anticoagulant therapy | Sample referred to UHBW-Bristol Royal Infirmary If screen for antiphospholipid/lupus Then send SST sample also for Anticardiolipin antibody testing. | Not available | Within 24 hours | 2 weeks |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Platelet Aggregation Studies | Sodium citrate 10 x 2.7mL | Contact the Laboratory | Aspirin affects platelet aggregation Delayed receipt of samples | Test is only organised with Haemostasis Consultants as requires specific planning. Platelet Aggregation Studies, including patient venepuncture, carried out at UHBW-Bristol Royal Infirmary Samples must be kept at room temperature and taken immediately to the Laboratory | Not available | Not applicable | 2 weeks |
| Rabbit Brain Thromboplastin | Sodium citrate | Ranges – are determined on an individual basis as decided by clinical decision. Contact the Laboratory for further information. | Delayed receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary | Service for clinically urgent requests | Within 24hrs | 72hrs |
| Rivaroxaban | Sodium citrate | Not established, contact Haemostasis consultant for advice | Delay in receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary | Not available | Within 24hrs | 72hrs |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Thrombophilia Screen Antithrombin 3, Protein C activity, Free Protein S, Lupus Anticoagulant, Cardiolipin Antibodies, Anti-β2 glycoprotein antibodies | Sodium citrate 2 x 2.7mL | Contact the laboratory | Delay in receipt of sample Warfarin & Heparin (Anticoagulant therapy) | Sample referred to UHBW-Bristol Royal Infirmary Note the tests can be requested individually if specific measuring is required. All screens are vetted by the Haemostasis Consultants, contact prior to venesection to ensure test completion. *Protein C/S can be arranged if Urgent clinical need, with Haemostasis Consultant approval | Service for clinically urgent requests* | Not applicable | 2 weeks |
| Von Willebrands Screen VWF Antigen VWF Activity VWF Rco F8 | Sodium citrate 2 x 2.7mL | Normal: 0.42-1.76 IU/mL Normal: 0.40-1.63 IU/mL Normal: 0.48-2.40 IU/mL Normal: 0.5-2.0 IU/mL | Delay in receipt of sample Heparin therapy (F8) | Sample referred to UHBW-Bristol Royal Infirmary Can be performed individually or as part of a Haemophilia screen. | Service for clinically urgent requests | Within 24hrs | 2 weeks |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ADAMTS-13 Inhibitor | SST | Normal 0 – 6.1% | Delay in receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary Samples subsequently sent for testing at HSL7.3 | Not available | Within 24hrs | 4 weeks |
| Coagulation Genetics | EDTA | N/A | N/A | Consultant approval required. Sample referred to UHBW-Bristol Royal Infirmary Samples subsequently sent for testing at Oxford7.3 | Not available | If sample available | N/A |
| VWF Collagen binding | Sodium citrate | Normal 0.49 – 1.32 IU/mL | Delay in receipt of sample | Sample referred to UHBW-Bristol Royal Infirmary Samples subsequently sent for testing at Royal Free Hospital, London7.3 | Not available | Within 24hrs | 4 weeks |

| Test | Specimen type | Reference Ranges | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Heparin Induced Thrombocytopenia (HIT) Screen | SST 1 x 3.5mL | Negative: Less than 1 U/mL Positive: More than 1 U/mL | Delay in sample receipt | Sample referred to UHBW-Bristol Royal Infirmary. Positive results are confirmed by send away test to NHSBT Filton8 Routine transports to NHSBT daily, test ONLY performed daily Mon-Fri. | Service for clinically urgent requests On cons request | Not applicable | 24 hours |
| Lupus Anticoagulant Extended Screen | Sodium citrate 2 x 2.7mL | Contact Laboratory | Delay in sample receipt | Sample referred to UHBW-Bristol Royal Infirmary Samples subsequently sent for testing at UCLH7.3 | Not available | Not applicable | 2 weeks |

### Factors Affecting Coagulation Tests

Clotting Screen (PT/APTT – Prothrombin Time, Activated Partial Thromboplastin Time) D-Dimer & Fibrinogen:

  - Anticoagulation

  - Delayed receipt of sample

  - Grossly Lipaemic sample

  - Grossly Haemolysed sample

  - Underfilled / Overfilled sample

### Coagulation – Requesting Guidelines

The Clotting screen comprises Prothrombin time (PT), APTT, a Clauss Fibrinogen assay and the PT and APTT expressed as ratios.

The indications for a clotting screen are:

- A significant history of abnormal bleeding or bruising.

- A significant family history of abnormal bleeding if the patient is to undergo surgery or an invasive procedure.

- Monitoring a coagulopathy associated with massive blood transfusion.

- Investigation of DIC.

- Known liver disease especially prior to biopsy.

- Pre ERCP.

- SLE.

- Intra-uterine death.

- GI bleed or PR bleed.

The clinical details section on the laboratory request form should reflect, in summary, relevant indications supporting the clotting screen request.

Requests for clotting screens that do not fulfil the above criteria may not be processed.

The following also qualify as inappropriate reasons for requesting a coagulation screen:

- Routine pre-operative unless there is a reason to suspect abnormal bleeding.

- Monitoring anticoagulants Warfarin and Heparin (please request INR or APTR as appropriate)

- Paracetamol overdose (please request INR only).

- Salicylate overdose (please request INR only).

### 5.3.5  Haematology and Coagulation Reference Ranges

- Please refer to Appendix Two

## Blood Transfusion Laboratory Service Provision (Section Lead: Stephen White)

The supply of blood for transfusion by the Transfusion laboratory is subject to the following conditions:

- A full service is only available between 09.00 - 17.30, Monday to Friday.

- At all other times, including Public Holidays, compatibility testing (crossmatching) is only available for emergencies. This service is staffed by multidisciplinary personnel and by its nature restricts the repertoire of investigations available out of normal hours. Supply of blood for transfusion must be reserved for patients whose immediate management would be severely compromised without the administration of blood and or blood components during this period. (refer to Blood Transfusion Policy).

- Requests for supply of blood for normal day theatre lists should be submitted more than 24 hours in advance. For Monday lists, requests must be received the previous Friday, where appropriate.

- Requests for cross matched blood should not be arranged during the out of hours period unless urgent.

- Service constraints (i.e. staffing, blood supply and special requirements) may cause requests to be processed on the next normal working day.

- When ordering blood & blood components, the type (including special product requirements), quantity, date & time, and NBS indication code are required (refer to Blood Transfusion Policy).

The need for special blood requirements (e.g. irradiated, Hepatitis E neg) must be highlighted to lab staff and stored on the hospital Blood Transfusion laboratory computer. Blood Transfusion laboratory staff should check whether there are any special requirements whenever blood or blood components are requested. Any request made without acknowledging whether special requirements are required or not, will not be processed until this has been confirmed.

Samples from patients receiving medication that may affect blood grouping and/or antibody screen results, should include details of this medication (e.g. patient on Daratumumab or Camelia). It may not be possible to process these samples on site. Therefore, specimens should be sent sufficiently in advance to allow for testing to occur at NHSBT, Filton

### Crossmatch/Group & Screen Policy

- If possible, requests for crossmatching should give at least 24 hours’ notice. If a crossmatch request for transfusion is to be made with less than 24 hours’ notice, please telephone the Blood Bank; as, ONLY telephone requests are given priority.

- All requests for crossmatching blood to cover Monday morning operations should be received in the laboratory on or before the preceding Friday morning.

- All requests for platelet transfusion should be discussed with a Clinical Haematologist.

- Inappropriate requests for Group and Save will not be processed. The request form and sample will be stored until the sample is 7 days old. Further information is available in the current Trust Blood Transfusion Policy via the Trust Intranet transfusion web pages.

- Samples not meeting the fill criteria may not be tested. Grossly haemolysed samples will not be tested.

### Maximum Surgical Blood Order Schedule

- The guidelines reflect current Trust recommendations for Weston General, which have been ratified by the Hospital Blood Transfusion Committee. When the clinical condition of the patient necessitates blood where none is indicated on the schedule, or more blood than stated to be reserved, it is imperative that the Blood transfusion laboratory is contacted to discuss additional requirements.

- Maximum notice is essential to avoid delay in supply of compatible product. All requests for blood for transfusion involve compatibility testing by the Blood Transfusion laboratory.

- Further information is available in the current Weston Maximum Surgical Blood Order Schedule on the MyStaffApp.

### Major Haemorrhage Procedure

- The major haemorrhage procedure is designed to provide blood products in the minimum time to the site of a major haemorrhage.

- Major haemorrhage is considered as any situation where immediate delivery of blood is required for a patient with rapid blood loss. All clinical and laboratory staff can activate the procedure if immediate emergency delivery of blood is deemed necessary.

- The procedure is activated with one phone call. Calls will be recorded as routine.

- Call 2222 “I would like to trigger the major haemorrhage procedure in location x extension xxxx”.

- Switchboard will trigger the major haemorrhage protocol via speech bleep.

- Transfusion laboratory will call you back on the extension provided. Provide patient identification details (name, trust ID, DOB / age, weight (if child), if anything other than red cells are required, clinicians name).

For further in formation refer to the Trust Major Haemorrhage Procedure via MyStaffApp, scanning the QR Code with your mobile phone, or link underneath.

https://uhbw.mystaffapp.org/12839/document_view.pdf

### Blood Transfusion Test Information

| Test | Specimen type | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- |
| Cross match | EDTA 6ml (Pink top) 1.3ml Paed | Incorrectly labelled, insufficient, unsigned, clotted samples will be rejected | Primary samples from previously ungrouped patients can only receive Group O Blood until confirmatory sample received. | Service for clinically urgent requests | Up to 7 days dependent upon sample validity. Not transfused patient sample valid 7 days If transfused within 90 days or pregnant, sample validity 72hrs | Routine Crossmatch 2hrs* Telephone the laboratory if Blood urgently required *For patients with antibodies, provision time may be significantly longer. |
| Group & Save In-Patient | EDTA 6ml (Pink top) 1.3ml Paed | Incorrectly labelled, insufficient, unsigned, clotted samples will be rejected | To add a blood product request, telephone blood bank | Service for clinically urgent requests | Up to 7 days dependent upon sample validity. Not transfused patient sample valid 7 days If transfused within 90 days or pregnant, sample validity 72hrs | 8 hrs |
| Test | Specimen type | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| Group & Save Ante-Natal | EDTA 6ml (Pink top) 1.3ml Paed | Incorrectly labelled, insufficient, unsigned, clotted samples will be rejected |  |  |  | 5 days |
| Direct Antiglobulin Test (DAT) | EDTA (can be performed on FBC sample) 6ml (Pink top) 1.3ml Paed |  | Can be added on to existing Group & Save or Haematology FBC sample | Service for clinically urgent requests | 7 days | 24hrs |
| Kleihauer | EDTA | Delay in receipt of sample | Samples should be taken minimum 30-45mins POST sensitising/delivery event | Service for clinically urgent requests | Dependent on indication – telephone the laboratory | 72hrs (sent to the BRI) |
| Phenotyping | EDTA |  | Can be added to a G&S. Full phenotyping will be referred to RCI | N/A | 7 Days | 48hrs |

### Blood Transfusion Referrals

| Test | Specimen type | Key factors affecting tests | Notes | Out of hours service | Time limit for add on tests from time of venesection | Turn-around time from receipt of sample |
| --- | --- | --- | --- | --- | --- | --- |
| Reference serology Antibody Quantification (Anti-D/c), AlloAb investigation Compatibility testing Quantification of FMH Extended RBC Phenotype | EDTA 6ml (Pink top) more may be required |  | Send away referral to RCI NHSBT Filton7.4 Further samples may be required depending on tests to be undertaken – Laboratory will phone if needed. | Service for clinically urgent requests | Blood Transfusion Laboratory referral | Dependent on tests required 5-7 working days |
| ffDNA | EDTA 6ml (Pink top) more may be required | Incorrectly labelled, insufficient, unsigned, clotted samples will be rejected | Send away referral to M.D NHSBT Filton7.4 |  | Cannot be added on. The sample should not be used for any other test | 14 working days |

# Urgent Requests

| Discipline | What is treated as Urgent, during working hours 09.00-17.30 | What is treated as Urgent, Out of Hours 17.30-09.00 and weekends |
| --- | --- | --- |
| Chemical Pathology | ED, ITU, SDEC, Theatres, OPAU, Seashore, Haematology Clinic, Oncology. Those marked "Urgent" or specifically discussed | All Inpatient requests |
| Haematology |  |  |
| Blood Transfusion | Telephone Requests inc. blood groups for organ donation | All urgent crossmatch requests and major haemorrhage |

## Time Limits For Specimen Processing (Extra Test Requests)

Chemical Pathology and Haematology

TIME LIMITS FOR SPECIMEN PROCESSING (EXTRA TEST REQUESTS)

We are aware that on occasion it is necessary to request additional tests for a sample already in the laboratory. Different tests have different degradation rates. Due to this we will not be able to provide additional testing on samples after they have exceeded the times stated below. Test requests on samples older than 7 days cannot be processed.

Samples are held for approximately 5-7 days in Chemical Pathology, and 2-3 days in Haematology.

All extra tests requests must be completed on an ‘extra test request’ form and sent to the laboratory. Verbal requests are not acceptable without a request form, unless during airtube downtime.

After requesting the additional test(s), please allow the expected turnaround time before contacting the laboratory for results (expected TaT’s can be found in this handbook under each relevant section).

If you have any queries, please contact the laboratory on 01934 647050 Extension: 5308. Alternatively contact switchboard on 01934 636363 and ask for Pathology Laboratory.

| Add-ons not appropriate | Up to 24 hours | Up to 2 days | Up to 7 days the following tests can be added |
| --- | --- | --- | --- |
| Lactate / Glucose (unless fluoride tube) | Conjugated/direct bilirubin | Troponin I | Renal Function (excluding Glucose) |
| Bicarbonate | FBC | Vitamin B12 / Folate | Liver Function test (LFT) |
| Ammonia | Reticulocytes | Iron / Ferritin | Calcium & Magnesium |
| C1 Esterase Inhibitor | Clotting Screen | Salicylate | Uric Acid (Urate) |
| CH50/AP50 | ESR | Estradiol | TSH/ FT4/ FT3 |
|  | Procalcitonin | Paracetamol | AIP |
|  | D-Dimer | GF | LH / FSH / Progesterone/ Prolactin / Testosterone |
| Up to 3 days | Up to 4 days | Up to 5 days | Lipids |
| hCG | Creatine Kinase (CK) | Plasma Viscosity | Osmolality |
|  | LDH | PSA | CEA |
|  | Phenytoin | CA 125 | RF |
|  | Phosphate | HbA1c | Gamma GT (GGT) |
|  | Cortisol |  | Gentamicin & Vancomycin |
|  | Vitamin D |  | AFP |
|  | Lipase |  |  |

In Blood transfusion most tests can be performed up to a week after sample collection.

Crossmatching depends on previous transfusions - see table below:

| Patient Transfusion Within | Sample to be taken not more than |
| --- | --- |
| 3 - 14 days | 24hr before transfusion |
| 15 - 28 days | 72hr before transfusion |
| 29 days to 3 months | 1 week before transfusion |

| Patient Type | Sample Validity (from time taken to subsequent transfusion) |
| --- | --- |
| Patient transfused or pregnant in last 3 months | Up to 3 days (72 hrs) |
| Patient not transfused or pregnant in last 3 months | Up to 7 days |

# SAMPLES SENT TO REFERRAL LABORATORIES FOR TESTING

Tests requested that are not performed at Weston General Pathology will be referred to another laboratory for testing. Where appropriate, local hospitals are used and turnaround times are monitored.

Accreditation status of referral laboratories is checked regularly to confirm that these laboratories are working to recognised standards and are thus participating in approved EQA schemes for the tests we send them.

For more detail and addresses of our referral laboratories please see lists in the Appendices.

## Chemistry

Most referred samples are tested at:

| Bristol Royal Infirmary (UHBW-Bristol) Level 8 Upper Maudlin St Bristol BS28HW | Southmead Hospital (NBT) Westbury on Trym Bristol BS10 5NB |
| --- | --- |

## Haematology

Most referred samples are tested at:

| Department of Laboratory Haematology, Level 4 Oxford Radcliffe Hospital Oxford University Hospitals NHS Trust Headley way Headington OX3 9DU Tel: 01865 572769 | Severn Pathology, Southmead Hospital, Pathology Sciences Building, Westbury On Trym, Bristol BS10 5NB Main switchboard: 01179505050 Haematology: 01174148351 |
| --- | --- |
| Red Cell Centre - Protein Laboratory Tel: 020 3299 2455 kch-tr.redcelllab@nhs.net c/o Central Specimen Reception Blood Sciences Laboratory Ground Floor Bessemer Wing King’s College Hospital Denmark Hill | PHE Malaria Reference Laboratory Faculty of Infectious & Tropical Diseases London School of Hygiene & Tropical Medicine Keppel Street London WC1E 7HT Laboratory: 020 7927 2427 |

## Coagulation

Most referred samples are tested at:

| HSL Haemostasis Laboratory Haematology Department 60 Whitfield Street London W1T 4EU Tel: 020 3912 0298 | Oxford Regional Genetics Laboratories Churchill Hospital Old Road Headington Oxford OX3 7LE Tel: 01865 226001 |
| --- | --- |
| Royal Free Hospital First Floor, Pond Street London NW3 2QG Tel: 020 7830 2274 | H&I Diagnostic Specimens NHSBT Filton 500 North Bristol Park Northway Bristol BS34 7QH Tel: 0117 921 7372 |
| Haemostasis Laboratory UCLH 2nd Floor 60 Whitfield Street London W1T 4EU Tel: 0203 447 8545 |  |

## Blood Transfusion

Most referred samples are tested at:

NHSBT North Bristol Park FILTON Bristol BS34 7QH

# OUT OF HOURS SERVICE

A Blood Sciences 24/7 service is available during the following times:

- 17.30 through to 09.00 Weekdays

- Weekends

- Public Holidays

There will be some overlap of staff but for most of the time the BMS is working alone.

The shift BMS can be contacted if urgent on bleep 4017 or through switchboard during the above hours and supplies a multi-disciplinary service for essential urgent requests.

Results of all Out of hours investigations will be entered on completion, onto the Pathology computer system and can be accessed on ICE, with the appropriate password, from any network PC terminal in the hospital.

## Chemical Pathology tests routinely available out of hours

All automated Biochemistry in house tests are available out of hours (OOH), except for some chemistry tests such as Urine or some hormones tests, this is due to machine maintenance overnight. Any abnormal results will be phoned accordingly.

Other tests that are not routinely performed out of hours may occasionally be required urgently on clinical grounds. Such requests must be discussed with the Consultant On-Call all for the relevant specialty. On-Call Consultants are also happy to discuss any aspect of patient investigation or results interpretation as well as to give clinical advice within their specialty area. Contact is via Switchboard.

| Specimen Type | Test |
| --- | --- |
| Serum (SST) | See table 4.2 for the most common tests offered OOH |
| Li/Hep blood | Neonatal Bilirubin |
| Urine | Sodium |
| CSF | Glucose/Protein |
| Arterial Blood Gases | Analysers are available for near-patient testing by trained users. These instruments also measure carboxyhaemoglobin and methaemoglobin - lactate. |
| Other tests must be discussed with the On Call Chemical Pathologist, who is also available for clinical advice |  |

## Haematology, Coagulation and Transfusion Tests routinely available out of hours

| Tests |  |
| --- | --- |
| FBC (& reticulocyte) | On demand |
| ESR | Only for the differential diagnosis of temporal arteritis |
| GF Screen | Dependant on differential WBC |
| INR, APTT, PT, D-Dimer, FIB | On demand |
| Abnormal Haemoglobin | Sickle cell screening only |
| Malaria Screen | Only on request received by consultant |
| D-Dimer | Only for DIC? DVT/PE |
| Crossmatch | If the immediate management of the patient will be adversely influenced should the transfusion of blood components not be carried out during that out of hours session |
| Other tests must be discussed with the On Call Consultant Haematologist, who is also available for clinical advice |  |

## Transport of Samples Out of Hours

Transport of samples to the laboratory is the responsibility of the requesting clinician. In the event of failure of the Air Tube System, contact the hospital porters to take urgent samples to the laboratory.

# RESULTS

## UHBW – Weston

24-hour access to current and historical result data is available as part of the pathology ICE system. Users can access results by a terminal connected to the UHBW-Weston computer network and logging into ICE. Please do this before contacting the laboratory.

Passwords and training for result access on ICE are provided by “Clinical Systems” during routine hours and by the Radiology Department Out of Hours.

Apart from abnormal results (Appendix 4), results are not telephoned.

## GP

Results will be sent from Pathology at regular intervals throughout the day and are imported to the practice computer at intervals decided by the practice; users will be able to access results through their own order comms system.

All abnormal results for GP samples outside of routine surgery hours will be telephoned to BRISDOC out of hours service or 111.

## Urgent Requests

During normal working hours, abnormal Chemical Pathology and Haematology results from inpatients, ED cases and General Practitioners will usually be telephoned to the location stated on the request form. Other departments will be phoned if appropriate.

It is Trust policy that results telephoned be recorded electronically on Winpath and transferred to ICE.

Results for outpatients will be telephoned either to the Outpatient Department, if the requesting doctor is still likely to be in clinic, or the relevant consultant secretary.

## Clinical Enquires

Clinical advice is available from a medical consultant during normal working hours. See Pathology Contact List. Out of Hours, advice should be sought from the on-call clinician for that discipline via switchboard.

## Patient Results Enquiry Service

Results are available from the ICE system soon after they are released from the Pathology computer system (LIMS), and as printed reports for Outpatients. All users are encouraged to use this service rather than telephone the laboratory.

# GOVERNANCE

The Blood Sciences laboratories at Weston General Hospital are working towards full accreditation with United Kingdom Accreditation Service (UKAS) for compliance with ISO 15189:2022 for all new assays. The department is going through a Managed Services Contract and therefore disbanded accreditation with our Roche equipment. We have now moved to a Beckman Coulter contract and are working towards applying for extension to scopes to evidence our compliance with accreditation standards.

# APPENDICES

| Appendix 1 | Chemistry Reference Ranges |
| --- | --- |
| Appendix 2 | Haematology and Coagulation Reference Ranges |
| Appendix 3 | Sample Tubes chart |
| Appendix 4 | Telephone Limits Chart (Blood Sciences) |

## Appendix 1 - Chemistry Reference Ranges

| General Chemistry |  |  |  |  |
| --- | --- | --- | --- | --- |
| Test | Age | Reference Intervals |  | Units |
|  |  | Lower | Upper |  |
| Albumin |  | 35 | 50 | g/l |
| Albumin Children | 0 – 1 year | 30 | 45 | g/l |
| Alkaline Phosphatase Adult |  | 30 | 130 | U/l |
| Alkaline Phosphatase Children | 0-13 days | 90 | 273 | U/l |
|  | 14d- 11mths | 134 | 518 | U/l |
|  | 1yr- 9yrs | 156 | 369 | U/l |
|  | 10 – 12yrs | 141 | 460 | U/l |
| Alkaline Phosphatase Male | 13 – 14yrs | 127 | 517 | U/l |
|  | 15-16yrs | 89 | 365 | U/l |
| Alkaline Phosphatase Female | 13 – 14yrs | 62 | 280 | U/l |
|  | 15-19yrs | 54 | 130 | U/l |
| ALT (Alanine Transaminase) |  | 10 | 50 | U/l |
| Amylase |  | 28 | 100 | U/l |
| B12 |  | 180 | 900 | pg/ml |
| Bicarbonate |  | 22 | 29 | mmol/l |
| Bilirubin (total) |  |  | <21 | µmol/l |
| Bilirubin (Uncongugated) |  |  | <3.4 | µmol/l |
| Calcium Adult |  | 2.20 | 2.60 | mmol/l |
| Calcium Children | <4 weeks | 2.00 | 2.70 | mmol/l |
|  | 1mth-16yrs | 2.20 | 2.70 | mmol/l |
| Chloride |  | 93 | 108 | mmol/l |
| Cholersterol (total) |  | Clinical decision limits |  | mmol/l |
| CK (Creatine Kinase) Male |  | 40 | 320 | U/l |
| CK (Creatine Kinase) Female |  | 25 | 200 | U/l |
| Creatinine Adult Male |  | 59 | 104 | µmol/l |
| Creatinine Adult Female |  | 45 | 84 | µmol/l |
| Creatinine Children | 0-14 days | 27 | 77 | µmol/l |
|  | 15d-1y | 14 | 34 | µmol/l |
|  | 4 – 5yrs | 23 | 37 | µmol/l |
|  | 6 – 7yrs | 25 | 42 | µmol/l |
|  | 8 – 9 yrs | 30 | 47 | µmol/l |
|  | 10 – 11yrs | 29 | 56 | µmol/l |
|  | 12yrs | 36 | 64 | µmol/l |
|  | 13 yrs | 36 | 67 | µmol/l |
| Creatinine Male | 14yrs | 38 | 76 |  |
|  | 15yrs | 40 | 83 |  |
|  | 16yrs | 47 | 98 |  |
|  | 17yrs | 54 | 99 |  |
| Creatinine Female | 14yrs | 38 | 74 |  |
|  | 15yrs | 43 | 75 |  |
|  | 16yrs | 44 | 79 |  |
|  | 17yrs | 48 | 81 |  |
| CRP (C-Reactive Protein) |  |  | <6.0 | mg/l |
| Ferritin Male |  | 33 | 490 | ng/ml |
| Ferritin Female | <44yrs | 15 | 445 | ng/ml |
|  | > 45yrs | 30 | 470 | ng/ml |
| Folate |  | 2.5 | 19.5 | ng/ml |
| GGT (g-glutamyl transferase) Male |  | 10 | 71 | U/l |
| GGT (g-glutamyl transferase) Female |  | 6 | 42 | U/l |
| GGT (g-glutamyl transferase) Children | < 2wks |  | <165 | U/l |
|  | 3wks – 3mths |  | <177 | U/l |
|  | 3mths – 1yr |  | <145 | U/l |
|  | 1-15yrs |  | <37 | U/l |
| Glucose (fasting) |  | 3.0 | 6.0 | mmol/l |
| HDL Cholesterol |  | Clinical decision limits |  | mmol/l |
| Iron |  | 6.0 | 35.0 | µmol/l |
| LDH (Lactate dehydrogenase) |  | 0 | 250 | U/l |
| LDH (Lactate dehydrogenase) Children | 0 – 14days | 0 | 1130 | U/l |
|  | 15 days - 1yr | 0 | 420 | U/l |
|  | 1 – 9 yr | 0 | 310 | U/l |
|  | 10 – 14yr | 0 | 270 | U/l |
| Lipase |  | 13 | 60 | U/l |
| Magnesium |  | 0.70 | 1.00 | mmol/l |
| Phosphate Adult |  | 0.80 | 1.50 | mmol/l |
| Phosphate Children | <1mth | 1.30 | 2.60 | mmol/l |
|  | 1mth – 1yr | 1.30 | 2.40 | mmol/l |
|  | 1 – 16yrs | 0.90 | 1.80 | mmol/l |
| Potassium (k) Adult |  | 3.5 | 5.3 | mmol/l |
| Potassium (k) Children | < 4wks | 3.4 | 6.0 | mmol/l |
|  | 1mth – 1yr | 3.5 | 5.7 | mmol/l |
| Protein (total) serum |  | 60 | 80 | g/l |
| Protein (CSF) Adult |  |  | <0.54 | g/l |
| Protein (CSF) Children | <30days | 0.15 | 1.30 | g/l |
| PSA | <59 years |  | <3.0 | µg/l |
|  | <69 years |  | <4.0 | µg/l |
|  | <79 years |  | <5.0 | µg/l |
| Sodium |  | 133 | 146 | mmol/l |
| Triglycerides Adult |  | 0.5 | 1.70 | mmol/l |
| Triglycerides Children | <13wks | 1.1 | 2.3 | mmol/l |
|  | 13wks – 14yrs | 0.4 | 1.70 | mmol/l |
| Troponin T |  |  | <14 | ng/l |
| Urate Male | 8 – 10yrs | 70 | 350 | µmol/l |
|  | 11 – 15yrs | 120 | 460 | µmol/l |
|  | 16 yrs+ | 200 | 430 | µmol/l |
| Urate Female | 8 – 10yrs | 130 | 370 | µmol/l |
|  | 11 – 15 yrs | 150 | 390 | µmol/l |
|  | 16 – 50yrs | 190 | 360 | µmol/l |
|  | 50yrs+ | 140 | 360 | µmol/l |
| Urate Children | <8yrs | 60 | 240 | µmol/l |
| Urea Adult |  | 2.5 | 7.8 | mmol/l |
| Urea Children | <28days | 0.8 | 5.5 | mmol/l |
|  | 28d – 1yr | 1.0 | 5.5 | mmol/l |
|  | 1 – 16yrs | 2.5 | 6.5 | mmol/l |

| Endocrine Chemistry |  |  |  |  |
| --- | --- | --- | --- | --- |
| Test | Age | Reference Intervals |  | Units |
|  |  | Lower | Upper |  |
| Cortisol |  |  | >350 | nmol/l |
| LH Follicular |  | 2.4 | 12.6 | IU/l |
| LH Luteal |  | 1 | 11.4 | IU/l |
| LH Male |  | 1.6 | 9.6 | IU/l |
| FSH Follicular |  | 3.5 | 12.5 | IU/l |
| FSH Luteal |  | 1.7 | 7.7 | IU/l |
| FSH Post menopausal |  |  | >30 | IU/l |
| FSH Male |  | 0 | 6 | IU/l |
| HCG (non-pregnant) |  |  | <6 | IU/l |
| Oestradiol Follicular |  | 60 | 850 | pmol/l |
| Oestradiol Luteal |  | 80 | 1250 | pmol/l |
| Oestradiol Post menopausal |  | <500 |  | pmol/l |
| Oestradiol Male |  |  | <160 | pmol/l |
| Progesterone Follicular |  | <4 |  | nmol/l |
| Progesterone Luteal |  |  | >30 | nmol/l |
|  | Progesterone >30 nmol/l indicates ovulation |  |  |  |
| Prolactin Male |  | <700 |  | mIU/l |
| Prolactin Female |  | <700 |  | mIU/l |
|  | Prolactin <700mIU/l unlikely of clinical significance |  |  |  |
| PTH |  | 1.6 | 6.9 | pmol/l |
| Testosterone Male |  | 8.6 | 29.0 | nmol/l |
| Testosterone Female |  | 0.3 | 1.7 | nmol/l |
| Thyroid – fT3 Adult |  | 3.1 | 6.8 | pmol/l |
| Thyroid – fT3 Children | 0 – 5 days | 2.6 | 9.6 | pmol/l |
|  | 6 – 14days | 3.0 | 9.2 | pmol/l |
| Thyroid – fT4 Adult |  | 12.0 | 22.0 | pmol/l |
| Thyroid – fT4 Children | 0 – 5 days | 11.0 | 32.0 | pmol/l |
|  | 6 – 14days | 11.5 | 28.3 | pmol/l |
| Thyroid – TSH Adult |  | 0.27 | 4.2 | mU/l |
| Thyroid – TSH Children | 0 – 5 days | 0.7 | 15.2 | mU/l |
|  | 6 – 14days | 0.72 | 11.0 | mU/l |

| Drugs |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Drug | Therapeutic Range | Units | Half Life | Sampling Time | Sample type | Time to Steady State |
| Carbamazepine | 4.0-12.0 | mg/l | 12hrs | Pre-dose | SST (yellow) | 2 – 6 days |
| Ciclosporin | 100 – 225 (maintenance) | µg/l | 2 – 6hrs | Pre-dose | EDTA (purple) | 2 – 3 days |
| Digoxin | 0.8 – 2.0 | µg/l | 36 – 48hrs | Pre-dose (or >6hrs post-dose) | SST (yellow) | 5 – 7 days |
| Gentamicin |  | mg/l |  | Pre-dose | SST (yellow) |  |
| Lamotrigine |  | mg/l | 20 – 30hrs | Pre-dose | SST (yellow) | 4 – 15 days |
| Lithium | 0.4 – 1.0 | mmol/l | 18 – 36hrs | 12 hrs post-dose | SST (yellow) | 3 – 7 days |
| Paracetamol | See BNF for toxicity | mg/l |  |  |  |  |
| Phenobarbitone |  | mg/l | 96 hrs | Pre-dose | SST (yellow) | 10 – 25 days |
| Phenytoin | 5 - 20 | mg/l | 7 – 42 hrs | Pre-dose | SST (yellow) | 7 – 35 days |
| Salicylate | See BNF for toxicity | mg/l |  |  |  |  |
| Theophylline | 10.0 – 20.0 | mg/l | 3 – 13 hrs | Oral: pre-dose IV: >2 hrs into infusion | SST (yellow) | 2 – 3 days |
| Valproate | N/A (Toxicity at >100) | mg/l | 8 – 20 hrs | Pre-dose | SST (yellow) | 2 – 4 days |
| Vancomycin |  | mg/l |  | Pre-dose | SST (yellow) |  |
| Drug concentrations outside the ranges quoted may be appropriate in specific clinical circumstances. Toxic effects for some drugs may be observed at high-therapeutic levels Pathology Consultants are available for clinical advice if required |  |  |  |  |  |  |

| Immunoglobulins |  |  |  |  |
| --- | --- | --- | --- | --- |
| Test | Age | Reference Intervals |  | Units |
|  |  | Lower | Upper |  |
| IgG Adult |  | 6.0 | 16.0 | g/L |
| IgG Children | <14days | 5.0 | 17.0 | g/L |
|  | 2 – 6wks | 3.9 | 15.0 | g/L |
|  | 6wks – 3mths | 2.1 | 7.7 | g/L |
|  | 3 – 6mths | 2.4 | 8.8 | g/L |
|  | 6 – 9mths | 3.0 | 10.9 | g/L |
|  | 9mths – 2yrs | 3.1 | 13.8 | g/L |
|  | 3yrs | 3.7 | 15.8 | g/L |
|  | 4-6yrs | 5.4 | 16.1 | g/L |
|  | 7-15yrs | 6.0 | 16.0 | g/L |
| IgM Adults | 60yrs+ | 0.4 | 2.0 | g/L |
|  | 18 -60yrs | 0.5 | 2.0 | g/L |
| IgM Children | <14 days | 0.02 | 0.20 | g/L |
|  | 2 – 6wks | 0.08 | 0.40 | g/L |
|  | 6wks – 3mths | 0.15 | 0.70 | g/L |
|  | 3 – 6mths | 0.2 | 1.0 | g/L |
|  | 6 – 9mths | 0.4 | 1.6 | g/L |
|  | 9mths – 1yr | 0.6 | 2.1 | g/L |
|  | 1-18rs | 0.5 | 2.0 | g/L |
| IgA Adults | 45+ yrs | 0.8 | 4.0 | g/L |
|  | 18 -45yrs | 0.8 | 2.8 | g/L |
| IgA Children | <14 days | 0.01 | 0.08 | g/L |
|  | 2 – 6 wks | 0.02 | 1.5 | g/L |
|  | 3 – 6mths | 0.15 | 0.7 | g/L |
|  | 6 – 9mths | 0.15 | 0.7 | g/L |
|  | 9mths – 1yr | 0.2 | 0.7 | g/L |
|  | 2 - 3 yrs | 0.3 | 1.3 | g/L |
|  | 4 – 6yrs | 0.4 | 2.0 | g/L |
|  | 1 – 12yrs | 0.5 | 2.5 | g/L |
|  | 13 – 18yrs | 0.8 | 2.8 | g/L |

| Urines |  |  |  |
| --- | --- | --- | --- |
| Test | Reference Interval |  | Units |
|  | Lower | Upper |  |
| Albumin |  |  | g/l |
| Calcium (24hr) |  |  | mmol/24hrs |
| Magnesium (24hr) |  |  | mmol/24hrs |
| Phosphate (24hr) |  |  | mmol/24hrs |
| Protein (Total) |  |  | g/l |
| Sodium, Potassium, Urea, Creatinine |  |  | mmol/l |
| Urate (24hr) |  |  | mmol/24hrs |

| Tumour Markers |  |  |  |
| --- | --- | --- | --- |
| Test | Clinical Decision Values |  | Units |
|  | Lower | Upper |  |
| AFP (Alpha Feto Protein) |  | <6 | kU/l |
| CA125 |  | <35 | U/ml |
| CEA (Carcinoembryonic Antigen) |  | <5 | µg/l |

## Appendix 2 - Haematology and Coagulation Reference Ranges

BLOOD COUNTS* & ESR

| TEST | NORMAL RANGE | UNITS |
| --- | --- | --- |
| Haemoglobin | M 130 - 170 F 120 - 150 | g/L |
| RBC | M 4.50 - 6.0 F 3.80 - 5.3 | 1012/L |
| Haematocrit [HCT] | M 0.400 – 0.520 F 1.370 – 0.470 |  |
| MCV | 83 - 100 | fL |
| MCH | 27.0 - 32.0 | pg |
| MCHC | 310 - 350 | g/L |
| WBC [total] | 4.0 - 11.0 | 109/L |
| Neutrophils | 1.5 - 8.0 | 109/L |
| Lymphocytes | 1.0 - 4.0 | 109/L |
| Monocytes | 0.2 - 1.0 | 109/L |
| Eosinophils | 0.0 - 0.5 | 109/L |
| Basophils | 0.0 - 0.2 | 109/L |
| Platelets | 150 - 400 | 109/L |
| Reticulocytes | 0.01 - 0.12 | 1012/L |
| ESR |  |  |
| Age up to 16 | 1 - 10 | mm/hr |
| Age 17 - 50 | F <12 M <10 | mm/hr |
| Age 51 - 60 | F <19 M <12 | mm/hr |
| Age 61 - 70 | F <20 M <14 | mm/hr |
| Age over 70 | F <35 M <30 | mm/hr |

COAGULATION

| TEST | NORMAL RANGE [outside these ranges the results will be flagged red on WinPath] | UNITS |
| --- | --- | --- |
| Prothrombin Time | 10.0 - 13.2 | secs |
| APTT | 25.1 - 36.5 | secs |
| Fibrinogen | 2.0 - 4.0 | g/L |
| D Dimers | Normal Cut off <500 | ng/mL |
| INR for patients on Warfarin | Ranges – are determined on an individual basis as decided by clinical decision. Contact the Laboratory for further information. | n/a |
| APTR for patients on heparin | 1.5 - 3.5 | n/a |

OTHER TESTS

| TEST | NORMAL RANGE [outside these ranges the results will be flagged red on WinPath] | UNITS |
| --- | --- | --- |
| Hb A2 | 1.5 – 3.5 | % |
| Hb F | Up to 0.9 | % |
| Ferritin | M 33 – 400 F Pre-menopausal 15 – 150 F Post-menopausal 33 - 400 | % % % |

These reference ranges have been developed over time, sourced from BSCH guidelines, neighbouring Haematology Labs and in consultation with the relevant manufacturers and Haematology Consultants.

*Note the FBC ranges shown are based on adult ranges. Paediatrics ranges vary with age. For age correct values all appropriate ranges are assigned against patient in ICE.

## Appendix 3 - Sample Tubes chart

| Test Name | Test Code | Sample Type | Additional Information |  | Test Name | Test Code | Sample Type | Additional Information |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ACTH – BRI | ACTH | x 2 PURPLE | MUST ARRIVE ON ICE with 30mins of blood collection. Separate Immediately & Freeze |  | Apolipoprotein E – Cardiff | MISC | PURPLE | Send Whole blood |
| Alanine Transferase | ALT | YELLOW |  |  | APTT Ratio | APTR | BLUE |  |
| Albumin | ALB | YELLOW |  |  | Aspartate Transaminase | AST | YELLOW | Haemolysis needs to be <20 |
| Alcohol - Ethanol | ET | GREY | AKA Ethanol Confirm with BMS |  | Autoimmune Profile - BRI | UAIP | YELLOW |  |
| Alkaline Phosphatase | ALP | YELLOW |  |  | Aquapourin 4 antibodies – Oxford | AQP | YELLOW | Or CSF |
| ALP Isoenzymes - BRI | UAPI | YELLOW |  |  | B12 | B12 | YELLOW |  |
| Alpha Feto Protein | AFP | YELLOW |  |  | BCR-ABL | BCR | 4 X PURPLE | AKA Philadelphia Chromosome |
| Alpha-1 Antitrypsin - BRI | A1T | YELLOW |  |  | Beta-2-Microglobulin - NBT | B2M | YELLOW |  |
| ΑAT Phenotype - BRI | AAP | YELLOW |  |  | Beta- HCG | HCG | YELLOW | HCG, -HCG |
| Alpha Galctosidase - BRI | FAB | PURPLE | AKA Fabrys Disease |  | Bicarbonate (HCO3-) | CO2 | YELLOW |  |
| Aluminium – NBT | AL | DARK BLUE |  |  | Bile Acids – BRI | TBA | YELLOW | Urgent - Send same day |
| Amino Acids – BRI | BAA | GREEN | Separate & Freeze ASAP |  | Biotinidase – BRI | BIO | PURPLE | Separate & Freeze ASAP |
| Amino Acids (Urine) BRI | UAA | URINE | Freeze ASAP |  | Calcitonin – Synnovis | NCLT | YELL/ GREEN | Separate Immediately & Freeze |
| Amiodarone - Llandough | AMIO | PURPLE |  |  | Cardiolipin – BRI | UACA | YELLOW |  |
| Ammonia - BRI | AMM | PURPLE | Separate Immediately & Freeze |  | Calcium | CA | YELLOW |  |
| Amylase - BRI | AMY | YELLOW |  |  | Carbamazepine | CARB | YELLOW |  |
| Amyloid Protein – UCL | SAA | YELLOW |  |  | Carboxyhaemoglobin | COHB | PURPLE |  |
| Androstenedione - Synnovis | AND | YELLOW |  |  | CEA | CEA | YELLOW |  |
| Angiotensin Converting Enzyme- BRI | ACE | YELLOW |  |  | Chloride | CL | YELLOW |  |
| ANTIBODIES (Various) |  | YELLOW | See ‘Send-away test database’ for full list |  | Cholesterol | CHOL | YELLOW |  |
| Anti- GAD – Exeter Hospital | GAD | YELLOW | Glutamic Acid Decarboxylase |  | Chromagranin A&B – Imperial College | CGA | 2 X PURPLE | Separate & Freeze ASAP |
| Antiphospholipid antibody - BRI | UACA | BLUE | AKA Cardiolipin |  | Chromium – NBT | COCR | PURPLE |  |
| Anti MUSK antibodies | MSK | YELLOW | Muscle specific kinase |  | Cobalt – NBT | COCR | PURPLE |  |
| Apolipoprotein (A1 or B) RVI – Newcastle | APB | PURPLE |  |  | Clotting Screen | CST | BLUE |  |
| Test Name | Test Code | Sample Type | Additional Information |  | Test Name | Test Code | Sample Type | Additional Information |
| Complement Studies (C3, C4) -BRI | COMP | YELLOW |  |  | Factor VIII – BRI | F8 | BLUE |  |
| Copper – NBT | CU | YELLOW Dark Blue | Can also use Trace Element tube |  | Factor V Leiden – BRI | FSL | BLUE | Treat like Thrombophillia |
| Cortisol | CORT | YELLOW |  |  | Ferritin | FER | YELLOW |  |
| Creatine Kinase | CK | YELLOW |  |  | FH Genotype – Great Ormond Street | FHG | 2 X PURPLE |  |
| Creatinine | CR | YELLOW | Includes eGFR (>18yrs old) |  | FK506 – NBT | FK5 | PURPLE | AKA Tacrolimus |
| Cryoglobulins - NBT | CRYG | YELLOW | Inform BMS. Place at 37 oC for 2- 4hours then separate and send. |  | Folate | FOL | YELLOW |  |
| CSF Spec (Xanthochromia) – BRI | XAN | CSF | Protect from light |  | Follicle Stimulating Hormone (FSH) - Sheffield PRU | FSHU | YELLOW |  |
| Cyclosporin – BRI | CYC | PURPLE | Send Whole Blood |  | Free PSA- Sheffield PRU | FPSA | YELLOW |  |
| Cytogenetics (karyotype)- NBT | CYTO | GREEN & PURPLE | NOT Fridays AKA Genetics |  | Free Light chains- Birm Uni | FLC | YELLOW |  |
| C1-Esterase Inhibitor – NBT | C1I | YELLOW | Or Heparin sample Separate & Freeze |  | Free Thyroxine | FT4 | YELLOW |  |
| CA 125 | C125 | YELLOW |  |  | Free Triiodothyronine | FT3 | YELLOW |  |
| CA 19-9 – BRI / CA 15-3 – BRI | C199/C153 | YELLOW |  |  | Fructosamine – RUH Bath | FRUC | YELLOW |  |
| Cadmium – NBT | CD | PURPLE |  |  | Full Blood Count | FBC | PURPLE |  |
| Caeruloplasmin – NBT | CAE | YELLOW |  |  | Glandular Fever Screen | GF | PURPLE | AKA Paul Bunnell |
| C-Peptide (treat as Insulin) | PCPT | PURPLE | Separate Immediately & Freeze |  | Glucose / Glucose tolerance test | GLU / GTT | YELLOW/ GREY | (GTT – baseline+ 2hr) |
| C-Reactive Protein | CRP | YELLOW |  |  | Growth Hormone – BRI | GH | YELLOW |  |
| CD3/CD4 count – NBT | TSUB | PURPLE | T cell subsets |  | G6PD – BRI | G6PD | PURPLE |  |
| D-dimer, DVT, FDP, XDP | DDV | BLUE |  |  | Gamma-glutamyl transpeptidase | GGT | YELLOW | γ-GT, GGT, GGTP |
| Dexamethasone Suppression Test | DEXA | YELLOW | 1 tube taken at 9:00 AM |  | Gastrin - CCH (Inc VIP, GIP) | GAST | 2 x PURPLE | Arrives on ice, Spin, Separate and Freeze immediately |
| DHEAS – BRI | DHES | YELLOW |  |  | Gentamicin | GENR | YELLOW |  |
| Digoxin | DIG | YELLOW |  |  | Haemoglobin A1c | A1C | PURPLE | HBA1c, A1c |
| Electrolytes | UE | YELLOW | Sodium & Potassium / Creatinine |  | Haemoglobin Electrophoresis | HEL | PURPLE | Includes FBC |
| Endomysial Antibodies – NBT | ENDO | YELLOW |  |  | HFE Gene – Exeter Hospital | HGA | PURPLE | AKA Haemochromatosis |
| Erythrocyte Sedimentation Rate | ESR | PURPLE |  |  | HDL Cholesterol | HDL | YELLOW |  |
| Erythropoietin – SMH | EPO | YELLOW | Separate Immediately & Freeze |  | HLA Typing – NHSBT | HLA | 2 X PURPLE | NOT Fridays (full pink tube) |
| Test Name | Test Code | Sample Type | Additional Information |  | Test Name | Test Code | Sample Type | Additional Information |
| HLA B27 - NBT | B27 | 2 X PURPLE | Add B27 to clinical details |  | Liver Function Tests | ULFT | YELLOW |  |
| Homocysteine – BRI | HCY | PURPLE | Freeze plasma within 30mins of taking |  | Lupus Anticoagulant - BRI | LLA | 4 X BLUE | Full clinical details required |
| IGF-1 - PEP | NIF3 | YELLOW | Spin, separate and freeze immediately |  | Lysosomal Enzymes - NBT | WCE | 2 x PURPLE | Send Whole Blood with 24 hours AKA White Cell Enzymes |
| IgG Subclasses - NBT | IG | YELLOW |  |  | Luteinising Hormone | LHU | YELLOW |  |
| Immunoglobulin E (IgE) - NBT | IE | YELLOW | (Included in RAST) |  | Magnesium | MG | YELLOW |  |
| Immunoglobulins (IgG, IgA, IgM) | IGS | YELLOW |  |  | Malarial Parasites | MP | PURPLE | Inform Haematology BMS |
| Inhibin B – Sheffield PRU | INB | YELLOW |  |  | Manganese - Synnovis | NMNR | PURPLE |  |
| INR | WAR | BLUE |  |  | Mast Cell Tryptase - NBT | MAS | YELLOW | AKA Tryptase |
| Insulin - BRI | INSU | YELLOW | Separate Immediately & Freeze |  | Mercury – Guildford Trace | HG/UHG | PURP / URINE | Send Whole Blood or random urine |
| Infliximab – Exeter Pathology | NIFL | YELLOW |  |  | Oestradiol (E2) | OESU | YELLOW |  |
| Iron | FE | YELLOW |  |  | Oligoclonal Bands - NBT | OLI | YELLOW | Send spun CSF & serum ASAP |
| Islet cell antibodies - BRI | ICA | YELLOW |  |  | Organic Acids – BRI | OAU | URINE | Freeze ASAP |
| Jak-2 Mutation - BRI | JK2 | 2 X PURPLE |  |  | Osmolality | OSMU | YELLOW |  |
| Lactate (Blood Gas Analyser) |  | GREEN | Test within 20 mins on ITU ABG |  | Protein S (part of Thromb screen) | TPR | 4 X BLUE | Minimum of 2 bottles required |
| Lactate (Blood or CSF) | LACT | GREY | Spin, Separate and send to the BRI |  | RAST - NBT | RAST | YELLOW | Include specific allergen request |
| Lactate Dehydrogenase (Blood) | LDH | YELLOW |  |  | Reticulocytes | RET | PURPLE |  |
| Lactate Dehydrogenase (CSF) | LDH | UNIVERSAL | (Universal pot for CSF – test at BRI) |  | Renin/Aldosterone - Synnovis | NRAR | 2 X PURPLE | Spin, separate and freeze immediately |
| Lamotrigine - send to Llandough | LAMO | PURPLE |  |  | Salicylate | SAL | YELLOW | AKA Aspirin |
| LDL Lipid Profile | LIP | YELLOW |  |  | Selenium - NBT | SE | YELLOW Dark Blue | Can also use Trace Element tube |
| Lead - NBT | PB | PURPLE | Send Whole Blood |  | Serum Protein Electrophoresis | SPE | YELLOW |  |
| Lipid screen | LIP | YELLOW |  |  | SHBG – BRI | SHBG | YELLOW |  |
| Lipase – NBT | LPS | YELLOW | Check with BMS: May require Amylase |  | Short Synacthen Test | SYNW | YELLOW | (Cortisol tests) Baseline, 30min, 60min |
| Lipoprotein a - BIR | LPA | YELLOW |  |  | T Cell Subsets (CD4/CD8) – NBT | TSUB | PURPLE |  |
| Lipoprotein Electrophoresis - BRI | LEP | YELLOW |  |  | Tacrolimus (FK506) | FK5 | PURPLE |  |
| Lithium | LI | YELLOW |  |  | Testosterone | TEST | YELLOW |  |
| Test Name | Test Code | Sample Type | Additional Information |  | Test Name | Test Code | Sample Type | Additional Information |
| Theophylline | THEO | YELLOW |  |  | Prolactin | PROL | YELLOW |  |
| TIBC - BRI | TBC | YELLOW | AKA Iron Studies |  | Prostate specific antigen | PSA | YELLOW |  |
| Thrombophilia Screen | TPR | 4 X BLUE | Minimum of 2 bottles required. Full clinical details required |  | Thiopurine Metabolites - Synnovis | XTGN | 2 x PURPLE | Send Whole Blood |
| Thyroglobulin - Sheffield PRU | THYG | YELLOW |  |  | TPMT - Synnovis | XTMT | 2 x PURPLE | Send Whole Blood |
| Thyroid Antibodies – BRI | TAB | YELLOW | TPO |  | Transferrin – BRI | TBC | YELLOW |  |
| Thyroid Function Test Sheffield PRU | TSH | YELLOW | Thyroid (formally TFT) |  | Triglycerides | TRIG | YELLOW |  |
| Tissue Transglutaminase | UTTG | YELLOW | Coeliac Screen |  | Troponin T (Tn T, cTn T) | TNI | YELLOW |  |
| Total + Direct Bilirubin | DBIL | YELLOW |  |  | Urea | UREA | YELLOW |  |
| Total Bilirubin | TBIL | YELLOW |  |  | Uric Acid (Urate) | UA | YELLOW |  |
| Total Protein | TP | YELLOW |  |  | Valproate - Synnovis | NVAL | YELLOW |  |
| Osmolality | OSMO | YELLOW |  |  | Vancomycin | VANR | YELLOW |  |
| Paracetamol | PARA | YELLOW |  |  | Very Long Chain Fatty acids - NBT | VLC | YELLOW |  |
| Parathyroid Hormone | PTH | PURPLE | Spin and separate plasma from EDTA. Analyse within 4hrs (Do not Freeze). |  | Vitamin B1 (Thiamine) / Vitamin C | MISC | GREEN or PURPLE | Protect from Light. Send to GSST |
| Paroxysmal nocturnal hemoglobinuria | PNH | PURPLE | AKA PNH |  | Vitamin B6 (Pyridoxal-5-phosphate) | MMIS | PURPLE | Protect from Light. Send to Glasow |
| Porphyrins | Ensure that all samples are protected from light |  |  |  | Vitamin A + E – BRI | VIT | YELLOW |  |  | Protect from light |
| Plasma Porphyrins - BRI | QPB | PURPLE | Send whole Blood |  | Vitamin D | 25D | YELLOW |  |
| Urine Porphyrins – BRI | QPU | URINE |  |  | Von Willebrand Factor - BRI | VWF | 4 X BLUE |  |
| Faecal Porphyrins – BRI | QPF | FAECES |  |  | White Cell Markers - BRI | MARK | PURPLE | AKA Flow Cytometry, Markers. immunophenotyping |
| Porphyrin screen – BRI | PORS | As above | Send whole blood, Urine and Faeces |  | Zinc – NBT | ZN | DARK BLUE | (Trace Element tube only) |
| Phenylalanine - NBT | PHAL | GREEN |  |  | SARS COV 2 Antibodies | COVA | YELLOW | Total Covid Antibody |
| Phenobarbitone - BRI | POB | YELLOW |  |  | SARS COV 2 S Antibodies - BRI | COVS | YELLOW | Spike Protein Antibody – 24 hr turnaround |
| Phenytoin - BRI | PHEW | YELLOW |  |  | All Microbiology requests MUST have a separate YELLOW (SST) and PURPLE (EDTA) - add on microbiology requests are not permitted CMV viral load = EDTA blood. Azole Anti-fungal assays = Plain red tubes Please refer to UKHSA user guide for further information (Bacteriology reference department user manual - GOV.UK) Blood Bank require PINK top 6ml EDTA samples (Tall sample tubes). New samples may be required depending on patient transfusion history |  |  |  |
| Procollagen III - Synnovis | NP3N | YELLOW | Separate Immediately & Freeze |  |  |  |  |  |
| Progesterone | PROG | YELLOW |  |  |  |  |  |  |

## Appendix 4 - Telephone Limits Chart (Blood Sciences)

| Test | Action Limits |  | Comments |
| --- | --- | --- | --- |
|  | Less than or Equal to: | Greater than or Equal to: |  |
| Sodium | 120 mmol/L 130 mmol/L if <16 years old | 160 mmol/L | ± 5 mmol respectively (Rule applies to Inpatient only. Phone each GP/OP occurrence) |
| Potassium |  | 6.0 mmol/L | GP patients ONLY (between 08.30 and 18.30hrs - Routine working days) |
|  | 2.5 mmol/L | 6.5 mmol/L | Must be phoned on EVERY occasion |
| Bicarbonate | 10 mmol/L |  | Unless within 2 mmo/L on previous 24 hours or patient on ITU |
| Urea |  | 30.0 mmol/L 10.0 mmol/L <16 yrs | Unless within 20% of previous test |
| Glucose | 2.5 mmol/L | 25.0 mmol/L 15 mmol/L <16 yrs |  |
| Creatinine |  | 354 μmol/L 200 <16 yrs | Unless within 20% of previous test |
| AKI Score |  | 2 or 3 | GP patients |
| ALT | Female | 600 U/L | Unless previously >500 in the last 48 hours |
|  | Male | 900 U/L |  |
| Total Bilirubin |  | 300 µmol/L | Age <1month, Unless previously elevated. Check for midwife mobile, if no response, on-call community midwife can be contacted via switch board |
| Conjugated Bilirubin |  | 25 µmol/L |  |
| Amylase |  | 500 U/L | Unless elevated in last 72 hours |
| Calcium (adjusted) | 1.90 mmol/L | 3.50 mmol/L | Unless ± 0.2 mmol within last 24 hours |
| CK |  | 5000 U/L | Unless >5000 U/L on this admission |
| Lipase |  | 200 U/L | Unless higher in previous 72 hrs |
| Magnesium | 0.40 mmol/L |  | Unless within 0.1 mmol/L in previous 24 hours |
| Paracetamol |  |  | Any detectable paracetamols from GP/OP ONLY |
| Phosphate | 0.30 mmol/L |  | Unless within 0.1 mmol/L in previous 24 hours |
| Triglycerides |  | 20 mmol/L | + 20 mmol |
| Cortisol | *GP/OP: 50 nmol/L 150 |  | *Between 17:30 Fri and 09:00 Sun/BH Monday Exception: if request states dexamethasone suppression test Exception: if request states dexamethasone suppression test |
| Troponin I | Female | 12 ng/L | ONLY phone for GP patients |
|  | Male | 20 ng/L | ONLY phone for GP patients |
| CRP |  | 300 mg/L | ONLY phone for GP patients |
|  |  | 200 mg/L | GP patients ONLY (between 08.30 and 18.30hrs - Routine working days) |
| Digoxin |  | 2.5 μg/L |  |
| Lithium |  | 1.5 mmol/L |  |
| Phenytoin |  | 25 mg/L |  |
| Theophylline |  | 25 mg/L |  |
| Vancomycin |  | 30 mg/L |  |

| Test | Action Limits |  | Comments |
| --- | --- | --- | --- |
|  | Lower limits | Higher limits |  |
| Haemoglobin | <70* g/L | >190 g/L | *Normochromic/normocytic (suggestive of bleeding) |
|  | <50 g/L |  | Microcytic and hypochromic |
|  | <50 g/L |  | macrocytic |
| WBC | <0.5 (109/L) | >50.0 (109/L) |  |
| Neutrophils | <0.5 (109/L) | >50 (109/L) | Unless known patient on chemo/haem patient’s |
| Lymphocytes |  | >50.0 (109/L) | Requires urgent but not immediate referral |
| Platelets | <30 (109/L) | >1000* (109/L) | *only needs urgent referral if compounding medical problems |
| Test | Action Limits |  | Comments |
|  | Lower limits | Higher limits |  |
| INR |  | ≥5.0* | *If GP warfarin request: phone to haematology registrar |
| APTTR |  | ≥5.0 |  |
| Fibrinogen | ≤1.0 g/L |  |  |

Results to be phoned to Haematology Registrar or Consultant alongside urgent film review (via BRI switchboard if OOH)

- A new presentation of leukaemia or other haematology emergency e.g. TTP

- Severe pancytopenia

- Marked thrombocytopenia

- A marked change in a known case (must be considered on an individual basis)

Please note:

Results outside the above limits must be telephoned in accordance with Trust Clinical Governance policy “Telephone Transmission of abnormal results”.

Date and time of phoning and the person to whom the result is given must be recorded on LIMS. Comments in italics are the recommended repeat telephone limits.

Chemistry results without recommendations must be phoned each time the limit is breached.

All information is available in the Blood Sciences User guide.

# These limits are set as minimum guidance. Be advised that some results may still require phoning irrespective of this chart.

# References: G158. The communication of critical and unexpected pathology results. RCPath October 2017. Accessed here